Spec Component: SC-170-12/10

Sikasil® WS-290

DIVISION 7 - THERMAL AND MOISTURE PROTECTION

Section 07900 Joint Sealers

Elastomeric and non-Elastomeric sealant

# Part 1 - General

1.01  Summary

A.	This specification describes the remedial wet sealing of perimeter glass panel joints with a one-component, or multi-component, gun-grade, neutral cure, elastomeric silicone sealant.

1.02  Quality Assurance

A.	Manufacturing qualifications: The manufacturer of the specified product shall be ISO 9001 certified and have in existence a recognized ongoing quality assurance program independently audited on a regular basis.

B.	Contractor qualifications: Contractor shall be qualified in the field of concrete repair and protection with a successful track record of 5 years or more.  Contractor shall  maintain qualified personnel who have received product training by a manufacturer's representative.

C.	Install materials in accordance with all safety and weather conditions required by manufacturer or as modified by applicable rules and regulations of local, state and federal authorities having jurisdiction.  Consult Material Safety Data Sheets for complete handling recommendations.

- Field adhesion tests of the Sika product are conducted to confirm adhesion under jobsite conditions in accordance with ASTM C1521.  The Contractor and/or Owner are responsible for providing Sika with reasonable notice and access to the site in order to conduct the field adhesion tests.  Successful adhesion tests must be done for each 100 linear feet in the first 1,000 linear feet of joint.  If no test failure is observed in the first 1,000 linear feet of joint, perform procedure every 1,000 linear feet thereafter.  After any observation of test failure, the frequency of testing must be increased.  All repairs must be conducted pursuant to ASTM C1521 and the pertinent Sika Product Data Sheet.

- Results of the testing shall be kept and maintained in a field adhesion log.

1.03  Delivery, Storage, and Handling

A.	All materials must be delivered in original, unopened containers with the manufacturer's name, labels, product identification, and batch numbers.  Damaged material must be removed from the site immediately.

B.	Store all materials off the ground and protect from rain, freezing or excessive heat until ready for use.

C.	Condition the specified product as recommended by the manufacturer.

1.04  Job Conditions

A.	Environmental Conditions: Optimal sealant application temperature:  Between 40ºF (5ºC)  and rising.

Do not apply material if it is raining or snowing or if such conditions appear to be imminent. Minimum application     temperature -20ºF (-27ºC) and maximum application temperature 130 ºF (54 ºC).

B.	Protection: Precautions should be taken to avoid damage to any surface near the work zone due to mixing and handling of the specified coating.

1.05  Submittals

A.	Submit two copies of manufacturer's literature, to include: Product Data Sheet, and appropriate Safety Data Sheets (SDS).

B. 	Results of adhesion and capatibity tests with manufacturer’s primer recommendations prior to commencent of work.

C. 	Copies of the preconstruction adhesion tests and the field quality assurance adhesion logs.

D. 	Letter of intent to warrant by the manufacturer submitted and approved prior to commencement of work.

1.06  Warranty

A.	Provide a written warranty from the manufacturer against defects of materials for a period of twenty (20) years, beginning with date of substantial completion of the project.

# Part 2 - Products

2.01  Manufacturers

A.	Sikasil® WS-290 and Sikasil® WS-290 FPS, as manufactured by Sika Corporation, 201 Polito Avenue, Lyndhurst, NJ  07071 is considered to conform to the requirements of this specification.

2.02  Materials

A.	Silicone Sealant:

1.	The joint sealant shall be Sikasil WS-290, a one-component, or multi-component,,gun grade,neutral cure, silicone material.  It  shall be for exterior joints in vertical surfaces and non-traffic horizontal surfaces such as, but not limited to most common building materials including glass, aluminum, metal, tile, fibreglass, plastic,

ceramic, masonry, concrete, brick, powder coated aluminum, fluoropolymer painted surfaces, vinyl, PVC,

granite, limestone,   marble and wood.

B.	Any primers, as required, recommended by the manufacturer of the specified product and verified by adhesion and capatibility testing pior to the commencement of work, and as approved by the engineer.

C.	Backer rod or bond breaker tape, as approved by the Engineer.

2.03  Performance Criteria

A.	Properties of the uncured neutral cure silicone sealant:

- Tack-Free Time (ASTM C-679) – 50 minutes

- Final Cure   7 – 14 days

- Consistency: non-sag

3.   Color: 7 architectural standard colors

B.	Properties of the cured neutral cure silicone sealant:

1.  Tensile Properties (ASTM D-412) at 21 days

a.  Tensile Stress: 			165-psi min.(1.14 MPa)

b.  Elongation at Break: 		1000%

c.  Modulus of Elasticity  100%     	42 psi (0.29 MPa)

2.  Shore A Hardness (ASTM C-661) at 21 days: 12

- Peel Strength (ASTM C-719) at 21 days: 20-40 pli

- The sealant shall conform to Federal Specification TT-S-00230C, Type II, Class A and Federal Specification for Silicones TT-S-001543A, Type non-sag.

- The sealant shall conform to ASTM C-920, Type S, Grade NS, Class 100/50.

- The sealant shall be non-staining.

- The sealant shall be capable of +100% / -50% joint movement

Note: Tests were performed with material and curing conditions at 23oC  (75oF) and 45-55% relative humidity.

# Part 3 - Execution

3.01  Surface Preparation

A.	Remove the old window gasket by cutting it flush with the window frame. The joint and adjacent substrate must be clean, dry, sound and free of surface contaminants.  Remove all traces of the old sealant and/or gasket, dust, grease, oils, foreign particles, and etc by  two rag solvent wipe method for non porous susbtrates as approved by the engineer.  Blow joint free of dust using compressed air line equipped with an oil trap.

# 3.02  Application

A.	Joints:

- Placement Procedure: Prime substrate as required based upon the recommendations of the manufacturer of the specified product, when field testing indicates need, and as approved by the Engineer.

2.   	Install approved backer rod or bond breaker tape in all joints subject to thermal movement to prevent three-sided bonding and to set the depth of the sealant at a maximum of 1/2 in., measured at the center point of the joint width.  Backing material is particularly important where the old gasket is missing or has been completely removed. Approval of the backer rod or bond breaker tape shall be made by the Engineer.

3.  Joints shall be masked to prevent discoloration or application on unwanted areas, as directed by the Engineer. If masking tape in used, it shall not be removed before tooling, yet must be removed before the initial cure of the sealant. Do not apply the masking tape until just prior to the sealant application.

4.  Install a fillet bead of sealant in a triangular shape assuring adhesion contact is a minium of ¼”.  Place the nozzle of the gun, either hand, air, or electric powered, into the bottom of the joint and fill entire joint. Keep the tip of the nozzle in the sealant; continue with a steady flow of sealant preceeding the nozzle to avoid air entrapment. Avoid overlapping the sealant to eliminate the entrapment of air.  Tool as required to properly fill and shape the joint.

5.   Adhere to all limitations and cautions for the neutral cure silicone sealant as stated in the manufacturers printed literature.

3.03 Cleaning

A.	The uncured silicone sealant can be cleaned with an approved solvent. The cured silicone sealant can only be removed mechanically.

B.	Leave finished work and work area in a neat, clean condition without evidence of spillovers onto adjacent areas.

Note: Sikasil® WS-290 is designed for all types of joints where sealant will not exceed ½" in depth.

Concrete Restoration Systems by Sika Corporation, 201 Polito Avenue, Lyndhurst, NJ 07071

The preceding specifications are provided by Sika Corporation as a guide for informational purposes only and are not intended to replace sound engineering practice and judgment and should not be relied upon for that purpose.  Sika Corporation makes no warranty of any kind, either express or implied, as to the accuracy, completeness or the contents of these guide specifications.  Sika Corporation assumes no liability with respect to the provision or use of these guide specifications, nor shall any legal relationship be created by, or arise from, the provision of such specifications  SIKA SHALL NOT BE RESPONSIBLE UNDER ANY LEGAL THEORY TO ANY THIRD PARTY FOR ANY DIRECT OR CONSEQUENTIAL DAMAGES OF ANY KIND ARISING FROM THE USE OF THESE GUIDE SPECIFICATIONS.  The specifier, architect, engineer or design professional or contractor for a particular project bears the sole responsibility for the preparation and approval of the specifications and determining their suitability for a particular project or application.

Prior to each use of any Sika product, the user must always read and follow the warnings and instructions on the product's most current Technical Data Sheet, product label and Material Safety Data Sheet which are available at www.sikaconstruction.com or by calling (201) 933-7452.  Nothing contained in any Sika materials relieves the user of the obligation to read and follow the warnings and instructions for each Sika product as set forth in the current Technical Data Sheet, product label and Material Safety Data Sheet prior to product use.