Guide Specification

Section 07 56 00

Fluid Applied Roofing

Sikalastic®  RoofPro System

SPEC NOTE: This specification includes materials and methods for the application of Sikalastic RoofPro roofing/waterproofing membrane direct to metal, or other approved substrate.  Sikalastic RoofPro is a cold applied, seamless, self-flashing roofing & waterproofing system that is fully reinforced for added tensile strength.

This specification serves as a guideline and should be adapted to suit the needs of each individual project by the designer. It is prepared in accordance with the CSI three-part section format and should be included as a separate section under DIVISION 07 - Thermal and Moisture Protection.  Improvements and other changes to the contents may be made only with the written approval of the designer.  Upon completion of editing, we recommend you contact your local Sika representative to review for accuracy prior to issuance for bid or construction.

# GENERAL

## SUMMARY

### This section specifies all labor, materials, transportation, equipment and services necessary to install a Sikalastic® RoofPro waterproofing system, on new or existing metal roofing approved substrate by manufacturer and shown on the drawings and described herein.

### Sections Included

#### Section 07 56 00	:	Fluid-Applied Roofing

### Related Sections

#### Section 05 30 00	: 	Metal Decking

#### Section 07 60 00	:	Flashing and Sheet Metal

#### Section 07 72 00	:	Roof Accesories

## REFERENCES

### American Society for Testing and Materials (ASTM) - Annual Book of ASTM Standards

### National Roofing Contractors Association (NRCA)

### American Society of Civil Engineers (ASCE)

## DEFINITIONS

### Roofing Terminology: Refer to ASTM D1079 and the glossary of the National Roofing Contractors Association (NRCA) Roofing and Waterproofing Manual for definitions of roofing terms related to this section.

## PERFORMANCE REQUIREMENTS

### Manufacturer shall provide all primary waterproofing materials that are physically and chemically compatible when installed in accordance with manufacturers current application requirements.

## SUBMITTALS

### Provide product data sheets for each type of product indicated in this section.

### Provide manufacturers standard details and approved shop drawings for the specified system.

### Installer shall provide written documentation from the manufacturer of their authorization to install the system, and eligibility to obtain the warranty specified in this section.

### Manufacturer’s certification that all waterproofing system products meet current Volatile Organic Compund (VOC) regulations as established by the State in which they are being installed; and stating total VOC content, in grams per litre, for all system components (i.e. primers, adhesives, coatings, etc.).

## QUALITY ASSURANCE

### Manufacturer’s Qualifications: Manufacturer shall demonstrate qualifications to supply materials of this section by certifying the following:

#### Membrane Manufacturer must show evidence that the specified membrane has been manufactured by the same organization or direct affiliate for fifteen (15) years.

#### Membrane Manufacturer shall have available an in-house technical staff to assist the contractor, when necessary, in application of the products and final inspection of the assembly.

### Installer’s Qualifications: The Contractor shall demonstrate qualifications to perform the work of this Section by submitting the following documentation:

#### Certification or license by the waterproofing membrane manufacturer as a trained applicator of the product the installer intends to use.

### Source Limitations:  All components listed in this section shall be provided by a single manufacturer or approved by the primary waterproofing manufacturer.

### Final Inspection

#### Manufacturers representative shall provide a comprehensive final inspection after completion of the waterproofing system.  All application errors must be addressed and final punch list completed.

## PRE-INSTALLATION CONFERENCE

### Prior to scheduled commencement of the waterproofing installation and associated work, conduct a meeting at the project site with the installer, architect, owner, manufacturer’s representative and any other persons directly involved with the performance of the work.  The installer shall record conference discussions to include decisions and agreements reached (or disagreements), and furnish copies of recorded discussions to each attending party.  The main purpose of this meeting is to review foreseeable methods and procedures related to waterproofing work.

## REGULATORY REQUIREMENTS

### All work shall be performed in a safe, professional manner, conforming to all federal, state and local codes.

### All waterproofing system components shall meet current VOC regulations as established by the State in which they are being installed; and stating total VOC content, in grams per litre, for all system components (i.e. primers, adhesives, coatings, etc.)

## DELIVERY, STORAGE AND HANDLING

### Deliver all waterproofing materials to the site in original containers, with factory seals intact.

### Store all pail goods in their original undamaged containers in a clean, dry location within their specified temperature range.

### Do not expose materials to moisture in any form before, during, or after delivery to the site. Reject delivery of materials that show evidence of contact with moisture.

### Materials shall be stored above 50°F (10°C) a minimum of 24 hours prior to application.

## PROJECT CONDITIONS

### Weather

#### Proceed with waterproofing only when existing and forecasted weather conditions permit.

#### Membrane installation can proceed when ambient temperatures are above 40°F (4.4°C), provided the substrate temperarture is a minimum of 5°F above the dew point.

#### It is recommended that overnight temperatures be above 40°F (4.4°C) when applying the membrane system.  Consult with the manufacturer for cold weather installation procedures when ambient temperatures are expected to fall below the minimums established herein.

### All surfaces to receive the membrane shall be free from visible water, dew, frost, snow and ice.

### Application of membrane should be conducted in well ventilated areas.

### Over its service life, do not expose membrane to a constant temperature below -22°F (-30°C) or in excess of 176°F (80°C) (i.e., hot pipes and vents or direct steam venting, etc.).

## WARRANTY

### Warranties vary in scope and terms.  Contact Sika  for exact warranty terms and conditions to meet the specific project requirements.

### Warranties available from the manufacturer:

#### Watertightness Warranties

#### **CONTACT SIKA FOR EXACT WARRANTY TERMS AND CONDITIONS.***

# PRODUCTS

## ACCEPTABLE MANUFACTURER

### Sika Coporation

201 Polito Avenue

Lyndhurst, NJ  07071

Phone:	800-933-7452

Fax:	201-922-6225

www.sikaconstruction.com

## SEALANTS and PRIMERS

### A two-component, cyclo-aliphatic, amine cured material with a high level of corrosion resistance for metal, modified bitumen surfaces, and chemically treated wood, Sikalastic EP Primer/Sealer.

### A single component, polyurethane based primer for the reactivation of existing Sikalastic RoofPro (Decothane) systems prior to overcoating, Sika Reactivation Primer.

### One part polyurethane sealant suitable for sealing reglet terminations, cracks and providing a suitable transition between the waterproofing system and roof penetrations prior to the installation of the membrane system.  Meets or exceeds ASTM C-920-87, Type S, Grade NS, Class 25, Sikaflex® 1a, or equal as approved by membrane manufacturer.

## FLUID APPLIED MEMBRANE MATERIALS

### A conformable, random woven fiberglass mat for total reinforcement of the roofing/waterproofing membrane system, which provides greater impact resistance and greater resistance to excessive thermal and structural movement while maintaining elasticity and membrane film integrity, Sika Reemat.

### A nylon mesh for local reinforcement of the roofing/waterproofing membrane at structural cracks, expansion joints, and transitions between dissimilar materials, Sika Flexitape Heavy.

### A single component, cold, fluid applied, moisture triggered, aliphatic, polyurethane meeting the following physical properties and ASTM D7311-07: Standard Specification for Liquid Applied, Single Component, Moisture-Triggered, Aliphatic Polyurethanes used in Roofing, Sikalastic 601 BC and Sikalastic 621 TC.

LIQUID PROPERTY REQUIREMENTS

| PHYSICAL PROPERTIES | ASTM | REQUIREMENTS |
| --- | --- | --- |
| VISCOSITY | D2196 | 5 to 20 Pa.s (pascal.seconds) |
| VOLUME SOLIDS | D2697 | 76% minimum |
| WEIGHT SOLIDS | D1644 | 83% minimum |
| SAG RESISTANCE | D4400 | No sag at 700 micrometers (0.028 in. / 28 mil) |

FILM PHYSICAL PROPERTY REQUIREMENTS

| PHYSICAL PROPERTIES | ASTM | REQUIREMENTS |
| --- | --- | --- |
| TENSILE STRENGTH (TENSION) | D412 | MIN 1.86 MPa (270lb/in2) |
| ELONGATION | D412 | MIN 200% |
| ACCELERATED WEATHERING FL/UV – 5000 HOURS | G154 | NO CRACKING OR CHECKING |
| WATER VAPOR TRANSMISSION PERMEABILITY / PERMEANCE | E96 | MAXIMUM 8.5 gms/m2/ day (0.033 perm-inches) |
| FLEXIBILITY – MANDREL BEND | D522 | PASS NO CRACKING OR FLAKING |
| TEAR RESISTANCE | D624 | MINIMUM 5.8 kN/m (33 lbf/in) |
| INDENTATION HARDNESS | D2240 | 82 Durometer Units (+/- 5 units) |
| DYNAMIC PUNCTURE RESISTANCE | D5635 | MINIMUM 15 joules (357 ft.poundals) |
| STATIC PUNCTURE RESISTANCE | D5602 | MINIMUM 20.7 kg. (45.5 lbs.) |

## FLASHING MATERIALS

### The fluid-applied membrane system is seamless and self-flashing.  No special flashings are required for system installation.

# EXECUTION

## Examination

### Inspect existing metal roof surface to receive the RoofPro membrane system.  All surfaces must be sound, dry, clean and free of oil, grease, mildew, loose or flaking paint and other surface contaminants.  All metal roofs shall be structurally sound, stable and well secured.

### Metal panels which no longer have integrity due to excessive rust and deterioration should be replaced.  All other areas of rust must be prepared and primed as required.

### Verify that all roof openings or penetrations through the roof are solidly set.

## PREPARATION

### Surface Preparation:

#### This section of the specification does not extensively outline procedures for preparation and finishing of drains, vents, ducts, flashings, parapet walls, sheet metal work, etc.

#### Tighten all loose fasteners and replace stripped fasteners with oversized version of the same fastener, i.e. aluminum, galvanized, or stainless must remain as designed by the manufacturer of the metal roof.

#### Metal surfaces having loose scale or rust, must be cleaned and primed prior to coating application as job conditions dictate.

#### Remove dirt and foreign material detrimental to adhesion or application of roofing.  Use Tri-Sodium Phosphate diluted 20:1 with water.  On heavy dirt or grease apply full strength.  Broom-scrub the cleaning solution on the existing substrate to loosen oxidation and dirt then pressure wash with a minimum 3,000 psi water blaster.  If algae is growing on the surface cleaning must include bleach in the washing of the substrate.  It is very important to remove all soap and/or bleach residue used to clean the roof.  Rinse well and allow to dry.

#### Remove loose, peeling, flaking or scaling paint by scraping, sanding, power tool cleaning or blasting.

#### Repair any damaged metal.

#### Allow roof and other prepared surfaces to dry completely before proceeding with coating application.

## INSTALLATION - GENERAL

### Install Sikalastic RoofPro roofing/waterproofing system according to all current application requirements in addition to those listed in this section.

## FLUID APPLIED MEMBRANE APPLICATION

#### Metal

##### Apply Sikalastic EP Primer/Sealer to previously prepared metal by brush, roller at a rate of 200-250 SF/gallon, to achieve an overall wet film thickness of 6-8 mils. High porosity and roughness of the substrate will decrease coverage rates.

##### Allow to cure and dry in accordance with manufacturer’s instructions.

#### Previously Applied Sikalastic RoofPro

##### Apply Sika Reactivation Primer to all previously applied Sikalastic RoofPro that has been in place longer than seven (7) days, by roller at a maximum coverage rate of 250 SF/gallon.  Allow to cure prior to applying subsequent layers of Sikalastic RoofPro.

#### All Other Surfaces

##### Check with manufacturer for specific priming instructions.

### Local Reinforcement (End laps, seams, penetrations and Dissimilar Material Transitions)

#### Apply a minimum 1” bond break at end laps, seams and transitions between dissimilar materials, prior to applying the specified membrane system.  Bond break should be installed centered over each lap or seam.

#### Follow by applying a local stripe coat of polyurethane resin at a width a minimum of 1” wider than the reinforcement, and while wet, insert nylon tape reinforcement into the wet membrane and backroll to full embedment adding additional material as needed.

#### Ensure that local reinforcing mesh is not in tension during embedment.

### Membrane Application

The following Sikalastic RoofPro system is specified for this project.  Please note, these tables specify the roofing/waterproofing system components and do not include additional optional coats or treatments which may be specified.

| Sikalastic RoofPro With Local Reinforcing | Film Thickness (wet mils) | *Est. Coverage Rate (sf/gal) |
| --- | --- | --- |
| Sikalastic 621 TC | 20 | 80 |
| Sikalastic 621 TC | 20 | 80 |
| *Note: Coverage rates include a reasonable amount of wastage. Rough and textured substrates can significantly affect coverage rates. |

#### The  local reinforced base embedment coat shall be applied to all horizontal and vertical surfaces to be locally reinforced by 1/2” nap roller, brush or airless spray to achieve minimum wet film thicknesses of 45 mils.

#### While the base embedment coat is still wet, immediately lay precut lengths of Sika Flexitape Heavy and/or conformable reinforcing scrim (Sika Reemat) into the wet base embedment coat, and using a short nap roller with the appropriate roller frame and handle, roll the scrim to force the wet coating up through the scrim to achieve full saturation and embedment.  Add additional material, if necessary, to ensure that the mesh is fully saturated and fully conformed to the substrate without any visible pinholes.

#### Minimum overlap of the reinforcement mesh shall be 2” in all directions.  Reinforcement shall turn up all adjacent wall surfaces, etc. until the termination point is accomplished according to the project details and specifications.  Membrane terminations should be finalized prior to project start-up and documented in shop drawings, but in general, terminations should occur in raked out mortar joints, saw cut terminations, and where feasible, under installed counter-flashing materials.  Tape lines should always be used to achieve a straight and professional looking edge detail.

#### Allow the locally reinforced base embedment coat to cure and dry prior to the next application procedure.

#### Apply base coat of 621 TC by 1/2” nap roller, brush or airless spray to achieve minimum wet film thicknesses, as specified in table above.

#### Allow the base coat of 621 TC to cure and dry prior to the next application procedure.  If the intermediate coat remains exposed for > seven (7) days or becomes heavily soiled as a result of trafficking, it must be primed per the manufacturer’s instructions prior to application of additional coats.

#### Apply top coat of 621 TC by ½” nap roller, brush or airless spray to achieve minimum wet film thicknesses, as specified in the table above.

#### Allow top coat to dry overnight prior to exposing to foot traffic.

## ROOF/WATERPROOFING PROTECTION

### Protect all partially and fully completed waterproofing work from other trades until completion.

### Whenever possible, stage materials in such a manner that foot traffic is minimized over completed areas.

### When it is not possible to stage materials away from locations where partial or complete installation has taken place, temporary walkways and platforms shall be installed in order to protect all completed areas from traffic and point loading during the application process.

## CLEAN-UP

### All work areas are to be kept clean, clear and free of debris at all times.

### Do not allow trash, waste, or debris to collect on the roof.  These items shall be removed from the roof on a daily basis.

### All tools and unused materials must be collected at the end of each workday and stored properly off of the finished roof surface and protected from exposure to the elements.

### Dispose of or recycle all trash and excess material in a manner conforming to current EPA regulations and local laws.

### Properly clean the finished roof surface after completion, and make sure the drains and gutters are not clogged.

### Clean and restore all damaged surfaces to their original condition.

END OF SECTION

The preceding specifications are provided by Sika Corporation as a guide for informational purposes only and are not intended to replace sound engineering practice and judgment and should not be relied upon for that purpose.  Sika Corporation makes no warranty of any kind, either express or implied, as to the accuracy, completeness or the contents of these guide specifications.  Sika Corporation assumes no liability with respect to the provision or use of these guide specifications, nor shall any legal relationship be created by, or arise from, the provision of such specifications  SIKA SHALL NOT BE RESPONSIBLE UNDER ANY LEGAL THEORY TO ANY THIRD PARTY FOR ANY DIRECT OR CONSEQUENTIAL DAMAGES OF ANY KIND ARISING FROM THE USE OF THESE GUIDE SPECIFICATIONS.  The specifier, architect, engineer or design professional or contractor for a particular project bears the sole responsibility for the preparation and approval of the specifications and determining their suitability for a particular project or application.

Prior to each use of any Sika product, the user must always read and follow the warnings and instructions on the product's most current Technical Data Sheet, product label and Material Safety Data Sheet which are available at www.sikaconstruction.com or by calling (201) 933-7452.  Nothing contained in any Sika materials relieves the user of the obligation to read and follow the warnings and instructions for each Sika product as set forth in the current Technical Data Sheet, product label and Material Safety Data Sheet prior to product use.