SECTION 07 19 16

Sika Sikagard-H 1001

NOTES TO SPECIFIERS:

PLEASE UPDATE YOUR MASTER SPECIFICATIONS TO REFLECT THE COMPANY AND PRODUCT NAME CHANGES.

THE PURPOSE OF THIS GUIDE SPECIFICATION IS TO ASSIST THE SPECIFIER IN DEVELOPING A PROJECT SPECIFICATION FOR THE USE OF SIKA PRODUCTS. THIS GUIDE DOCUMENT HAS BEEN PREPARED TO BE PART OF A COMPLETE PROJECT MANUAL. IT IS NOT INTENDED TO BE A “STAND ALONE” DOCUMENT, AND IT IS NOT INTENDED TO BE COPIED DIRECTLY INTO A PROJECT MANUAL.

THIS GUIDE SPECIFICATION WILL NEED TO BE CAREFULLY REVIEWED FOR APPROPRIATENESS FOR THE GIVEN PROJECT AND EDITED ACCORDINGLY TO COMPLY WITH PROJECT-SPECIFIC REQUIREMENTS.

1. GENERAL
	* + 1. SUMMARY
				1. Section Includes:

edit note: Delete application not required.

Water repellent sealer for interior or exterior concrete surfaces as scheduled.

edit note: Delete sections below not relevant to this project; add others as required.

* + - * 1. Related Sections:

Section 03 30 00 – Cast-in-Place Concrete.

Section 03 41 00 – Precast Structural Concrete.

Section 04 21 00 – Masonry Assemblies Unit Masonry.

Section 09 24 00 – Portland Cement Plastering.

Section 09 30 19 – Paver Tiling.

Section 09 31 33 – Thin-Set Stone Tiling.

* + - 1. SUBMITTALS
				1. Comply with Section [01 33 00] [\_\_ \_\_ \_\_].
				2. Product Data: Submit manufacturer's technical data sheets.
				3. LEED Submittals: Comply with requirements for each product to achieve points indicated in LEED Project Checklist provided by the architect/engineer.
				4. Submit list of project references as documented in this specification under Quality Assurance Article. Include contact name and phone number of the person charged with oversight of each project.
				5. Quality Control Submittals:

Provide protection plan of surrounding areas and non-work surfaces.

* + - 1. QUALITY ASSURANCE
				1. Comply with Section [01 40 00] [\_\_ \_\_ \_\_].
				2. Qualifications:

Manufacturer Qualifications: Company with minimum 15 years of experience in manufacturing of specified products.

Manufacturer Qualifications: Company shall be ISO 9001:2015 Certified.

Applicator Qualifications: Company with minimum of 5 years’ experience in application of specified products on projects of similar size and scope and is acceptable to product manufacturer.

Successful completion of a minimum of 5 projects of similar size and complexity to specified work.

* + - * 1. Field Sample:

Install field sample at project site or other pre-selected area, as directed by architect/engineer.

Provide mockup of at least 100 sf (9.3 m2) to include surface preparation, sealant joint, and juncture details and allow for evaluation of repellent performance and finish.

Conduct absorption test on cured field sample. Adjust application until required repellent performance is achieved.

Apply material in accordance with manufacturer’s written application instructions.

Manufacturer’s representative or designated representative will review technical aspects; surface preparation, application and workmanship.

Field sample will be standard for judging workmanship on remainder of project.

Maintain field sample during construction for workmanship comparison.

Do not alter, move, or destroy field sample until work is completed and approved by architect/engineer.

Obtain architect/engineer written approval of field sample before start of material application, including approval of aesthetics, color, texture, and appearance.

* + - 1. DELIVERY, STORAGE, AND HANDLING
				1. Comply with Section [01 60 00] [\_\_ \_\_ \_\_].
				2. Comply with manufacturer’s ordering instructions and lead-time requirements to avoid construction delays.
				3. Deliver materials in manufacturer's original, unopened, undamaged containers with identification labels intact.
				4. Store in unopened containers in clean, dry area between 35 degrees F (2 degrees C) and 110 degrees F (43 degrees C).
			2. PROJECT CONDITIONS
				1. Environmental Requirements:

Minimum application temperature is 20 degrees F (minus 7 degrees C) and rising.

Do not apply in rain or when rain is expected within 4 hours. Do not apply above 95 degrees F (35 degrees C) or below 40 degrees F (4 degrees C) or when temperatures are expected to fall below 20 degrees F (minus 7 degrees C) within 12 hours.

1. PRODUCTS
	* + 1. MANUFACTURERs
			2. Subject to compliance with requirements, provide products from the following manufacturer:

Sika Corporation, 201 Polito Avenue, Lyndhurst NJ 07071. Toll Free 800-933-SIKA (7452), www.sikausa.com.

No substitutions without prior written approval by the Architect.

* + 1. Substitutions: Not permitted.
		2. Single Source: Provide materials from single manufacturer.
			1. MATERIALS
				1. Clear, breathable, high performance, 100% silane sealer that achieves the highest depth of penetration with an oleophobic additive for protecting new and existing concrete surfaces by reducing staining caused by motor oils, grease, and food.

Acceptable Product: Sikagard-H 1001 by Sika.

* + - * 1. Water repellant sealer complies with the following requirements:

Compliance: Alberta DOT, Type 1c.

Silane Content by Weight: 100 percent.

Penetration, average depth, depending upon substrate: 0.35 inch (9 mm).

Surface Appearance after Application: Unchanged.

Flash Point, SETA: Greater than 165 degrees F (62.7 degrees C).

Waterproofing Repellency after Heavy Abrasion, Alberta DOT penetrating sealer, Type 1c, 0.35 w/c ratio: 83.5 percent.

Water Weight Gain, NCHRP 244 Series II Cube Test:

250 sf per gal (6.1 m2/L): 90 percent reduction.

400 sf per gal (9.8 m2/L): 85 percent reduction.

Absorbed Chloride, NCHRP 244 Series II Cube Test:

250 sf per gal (6.1 m2/L): 96 percent reduction.

400 sf per gal (9.8 m2/L): 87 percent reduction.

Absorbed Chloride, NCHRP 244 Series IV Southern Climate: 98 percent reduction.

VOC Content:

3.05 lbs per gal (365 g/L), less water and exempt solvents.

1. eXECUTION
	* + 1. EXAMINATION
				1. Comply with Section [01 70 00] [\_\_ \_\_ \_\_].
			2. SURFACE PREPARATION
				1. Protection: Protect plant life and surfaces to remain uncoated during application. Use drop cloths or masking as required.
				2. Prepare surfaces in accordance with manufacturer’s instructions.

edit note: Surface cleanliness is critical for blemish or stain-free results, especially on light colored or white surfaces. Concrete should be cured to 80% of design strength prior to application of Sealer.

* + - * 1. Verify substrate has properly cured. Surfaces shall be clean and structurally sound. Remove dust, dirt, oil, grease, chemical films, coatings and other contaminants before application.
				2. Do not apply sealer if standing water is visible on surface to be treated.
			1. application
				1. Apply sealer in accordance with manufacturer’s instructions.
				2. Stir material thoroughly before and during application.
				3. Apply sealer with flooding action. Eliminate ponding.
				4. Apply even distribution of sealer.
			2. PROTECTION
				1. Protect sealer from damage during construction.

END OF SECTION

Disclaimer-

The preceding specifications are provided by Sika Corporation as a guide for informational purposes only and are not intended to replace sound engineering practice and judgment and should not be relied upon for that purpose. **Sika Corporation makes no warranty of any kind, either express or implied, as to the accuracy, completeness or the contents of these guide specifications**. Sika Corporation assumes no liability with respect to the provision or use of these guide specifications, nor shall any legal relationship be created by, or arise from, the provision of such SPECIFICATIONS SIKA **SHALL NOT BE RESPONSIBLE UNDER ANY LEGAL THEORY TO ANY THIRD PARTY FOR ANY DIRECT OR CONSEQUENTIAL DAMAGES OF ANY KIND ARISING FROM THE USE OF THESE GUIDE SPECIFICATIONS.** The specifier, architect, engineer or design professional or contractor for a particular project bears the sole responsibility for the preparation and approval of the specifications and determining their suitability for a particular project or application.

Prior to each use of any Sika product, the user must always read and follow the warnings and instructions on the product's most current Technical Data Sheet, product label and Material Safety Data Sheet which are available at www.sikausa.com or by calling (800) 933-7452. Nothing contained in any Sika materials relieves the user of the obligation to read and follow the warnings and instructions for each Sika product as set forth in the current Technical Data Sheet, product label and Material Safety Data Sheet prior to product use.