GUIDE SPECIFICATION

SECTION 03 35 19 [32 13 16]

COLORED CONCRETE FINISHING [DECORATIVE CONCRETE PAVING]

******************************************************************************

This guide specification is intended to be used by a qualified construction specifier. It is not intended to be used verbatim as a project specification without appropriate modifications for the specific use intended.

Notes for review by the specifier are set off from specification text by rows of asterisks.  Optional text requiring a selection is enclosed within brackets, e.g., "Color shall be [gray] [white]." Items requiring input specifier input are enclosed within brackets, e.g., "Color: [_______]."

******************************************************************************

- GENERAL

  - SUMMARY

    - Drawings and general provisions of Contract, including General and Supplementary Conditions and Division 01 Specification sections, apply to Work of this Section.

    - Section Includes:

      - Dry-shake colored hardener applied to [slabs-on-grade] [pavements] where indicated on Drawings.

      - Curing of colored concrete.

    - Related Requirements:

      - Division 03 Section "Cast-In-Place Concrete" for general applications of concrete [and cementitious or epoxy mortar, underlayments, or toppings].

      - Division 07 Section "Joint Sealants" for colored sealants for joints.

  - REFERENCES

******************************************************************************

Other useful publications about colored concrete include:

PCA PA124 - Finishing Concrete Slabs with Color and Texture.

PCA SP021 - Color and Texture in Architectural Concrete.

******************************************************************************

    - American Concrete Institute (ACI):

      - ACI 301 "Specification for Structural Concrete for Buildings."

      - ACI 302 IR "Recommended Practice for Concrete Floor and Slab Construction."

      - ACI 303.1 "Standard Specification for Cast-In-Place Architectural Concrete."

      - ACI 304 "Recommended Practice for Measuring, Mixing, Transporting and Placing of Concrete."

      - ACI 305R "Recommended Practice for Hot Weather Concreting."

      - ACI 306R "Recommended Practice for Cold Weather Concreting."

    - American Society of Testing and Materials (ASTM):

      - ASTM C309 "Standard Specifications for Liquid Membrane-Forming Compounds for Curing Concrete."

      - ASTM C494 "Standard Specification for Chemical Admixtures for Concrete."

  - ACTION SUBMITTALS

    - Product Data:  Submit manufacturer's complete technical data sheets for the following:

      - Dry-shake colored hardener.

      - Curing compound.

******************************************************************************

Delete paragraph and subparagraphs below if sustainability submittals are not required.

******************************************************************************

    - Design Mixes:  For each type of concrete.

    - Samples for Initial Selection:  Manufacturer's color charts showing full range of colors available.

  - INFORMATIONAL SUBMITTALS

    - Qualification Data:  For firms indicated in "Quality Assurance" Article, including list of completed projects.

  - QUALITY ASSURANCE

    - Manufacturer Qualifications:  Manufacturer with 10-year's experience in manufacture of specified products.

    - Installer Qualifications: An installer with 5-year's experience with work of similar scope and quality.

    - Comply with the requirements of ACI 301.

    - Obtain each specified material from same source and maintain high degree of consistency in workmanship throughout Project.

    - Notification of manufacturer's authorized representative shall be given at least 1 week before start of Work.******************************************************************************

Color charts and small sample submittals provide only a general indication of color; color and appearance of completed work may differ.  On large or critical projects, specify a mockup to demonstrate that proposed materials and workmanship produce acceptable concrete appearance.

******************************************************************************

    - Colored Concrete Mockup:

      - Provide under provisions of Division 01 Section "Quality Control."

      - At location on Project selected by design professional, place and finish [10 feet by 10 feet (3 by 3 m)] [________] area.

      - Construct mockup using processes and techniques intended for use on permanent work, including curing procedures.  Include samples of control, construction, and expansion joints in sample panels.  Mockup shall be produced by the individual workers who will perform the work for the Project.

      - Accepted mockup provides visual standard for work of Section.

      - Mockup shall remain through completion of the work for use as a quality standard for finished work.

      - Remove mockup when directed.

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver products in original factory unopened, undamaged packaging bearing identification of product, manufacturer, batch number, and expiration data, as applicable.

    - Store the product in a location protected from damage, construction activity, and precipitation in strict accordance with the manufacturer's recommendations.

  - FIELD CONDITIONS

    - Schedule placements to minimize exposure to wind and hot sun before curing materials are applied.

    - Avoid placing concrete if rain, snow, or if frost is forecast within 24 hours.  Protect fresh concrete from moisture and freezing.

    - Comply with professional practices described in ACI 305R and ACI 306R.

  - PRE-JOB CONFERENCE

******************************************************************************

It is suggested that the Design Professional, General Contractor, Construction Manager, Subcontractor, Ready-Mix Concrete Representative, and Manufacturer's Representative be present.

******************************************************************************

    - One week prior to placement of concrete, a meeting shall be held to discuss the Project and application methods.

- PRODUCTS

  - ACCEPTABLE MANUFACTURER

    - Sika Corporation, (800) 800-9900.

  - MATERIALS

    - Cast-in-Place Concrete: Comply with requirements of Division 03 Section "Cast-in-Place Concrete."

    - Dry-shake Colored Hardener: LITHOCHROME Color Hardener, Sika Corporation; factory proportioned, mixed, and packaged, ready-to-use surface hardener.

      - Color: [________.] [As selected by design professional from Scofield Color Chart A-132CH - LITHOCHROME Color Hardener.]

******************************************************************************

Delete subparagraph below if SRI is not required for sustainability.

******************************************************************************

        - Albedo:  Minimum SRI of 29 or greater.

    - Curing Compound for Dry-Shake Colored Hardener Concrete: Comply with ASTM C309 and be of same manufacturer as colored admixture, for use with dry-shake colored hardener concrete.

      - Exterior Dry-Shake Colored Hardener Concrete Curing Compound: LITHOCHROME Colorwax™, Sika Corporation. Use to cure exterior flatwork that will be allowed to weather naturally with no or only occasional maintenance.

        - Color:  [________.] [As selected by design professional from manufacturer's full range.]

      - Interior Dry-Shake Colored Hardener Concrete Curing Compound:  SCOFIELD® Cureseal-W, SCOFIELD® Cureseal 700 or SCOFIELD® Cureseal 350. Use to cure interior flatwork that will receive regular maintenance. One coat should be applied, as a cure coat. The seal coat should not be applied until 28 days after placement of concrete. ******************************************************************************

Select either of the curing compounds in the paragraph above or one of the curing and sealing compounds in the paragraph below. Verify VOC limitations of authorities having jurisdiction before selecting SCOFIELD® Cureseal-S. Where VOC limits are required for solvent-based curing and sealing compounds, refer to SCOFIELD® Cureseal-VOC.

******************************************************************************

    - Curing and Sealing Compound: Comply with ASTM C309 and be of same manufacturer as colored admixture, for use with colored concrete. A second coat (seal coat) should be applied 28 days after placement of concrete.

      - SCOFIELD® Cureseal-W [Semi Gloss], Sika Corporation.

      - SCOFIELD® Cureseal 700  [Gloss] [Matte], Sika Corporation.

      - SCOFIELD® Cureseal 350 [Gloss] [Matte], Sika Corporation

    - SUBSTITUTIONS:  The use of products other than those specified will be considered providing that the Contractor requests its use in writing within 14 days prior to bid date. This request shall be accompanied by the following:

      - Certificate of compliance from material manufacturer stating that proposed products meet or exceed requirements of this Section.

      - Documented proof that proposed materials have a 10 year proven record of performance confirmed by at least 5 local projects that design professional can examine.

  - CONCRETE MIX DESIGN

    - Comply with requirements of Division 03 Section "Cast-in-Place Concrete" and the following:

      - Minimum Cement Content:  Six sacks per cubic yard of concrete.

      - Slump of concrete shall be consistent throughout Project at 4 inches or less.  At no time shall slump exceed 5 inches. If super plasticizers or mid-range water reducers are allowed, slump shall not exceed 8 inches.

    - Do not add calcium chloride to mix as it causes mottling and surface discoloration.

    - Supplemental admixtures shall not be used unless approved by manufacturer.

    - Do not add water to the mix in the field.

    - Maximum air content shall not exceed 5 percent.

- EXECUTION

  - CONCRETE PLACEMENT

    - Move concrete into place with square-tipped shovels or concrete rakes.

    - Vibrators, when used, shall be inserted and withdrawn vertically.

    - Concrete shall be struck to specified level with wood or magnesium straight edge or mechanical vibrating screed.

    - Concrete surface shall be further leveled and consolidated with highway magnesium straight edge and/or magnesium bull float.

    - Mechanically float concrete surfaces as soon as concrete surface has taken its initial set and will support weight of a power float machine equipped with float shoes or combination blades and operator.

  - INSTALLATION – DRY-SHAKE COLORED HARDENER

    - Apply 2/3 of specified application rate to freshly floated concrete surface.  Bleed water shall not be present during or following application of first and second shake.

    - Distribute evenly by hand or mechanical spreader designed to apply floor hardeners. Consult Scofield for recommended manufacturers of mechanical spreaders.

    - As soon as dry-shake material has absorbed moisture, indicated by uniform darkening of surface, mechanically float concrete surface a second time, just enough to bring moisture from base slab through dry-shake color hardener.

    - Immediately following second floating, apply remaining 1/3 of specified application rate. If applied by hand, broadcast in opposite direction of first application for a more uniform coverage. If a mechanical spreader is used, apply the same manner as previously described.

    - As soon as dry-shake material has absorbed moisture, mechanically float concrete surface a third time.

    - Do not add water to the surface.

    - As surface further stiffens, remove float blades to expose the power finishing blades or raise combination blades slightly.  Flat trowel surface to remove marks and pinholes.

    - Further troweling operations can be done, each time raising blades, until desired texture or finish is obtained.

      - For interior floors, final troweling shall be by hand in a uniform, consistent direction for a slip-resistant flat-trowel finish.

    - DO NOT BURNISH TROWEL COLORED SURFACE FLOOR HARDENERS.

  - CURING

    - Floors shall be cured with liquid membrane [curing] [curing and sealing] compound as recommended by manufacturer.

    - Apply immediately after floor surface has hardened sufficiently so that application of [curing] [curing and sealing] compound will not mar surface.  Apply uniformly over entire surface at coverage rate recommended by manufacturer and meeting or exceeding the moisture retention requirements of ASTM C309. One coat should be applied as a cure coat. The seal coat should not be applied until 28 days after placement of concrete.

    - There shall be no free water on surface at time of application.

  - SEALING

    - Prepare dry, cured concrete surfaces according to manufacturer's instructions.

      - The seal coat should not be applied until 28 days after placement of concrete, and assumes that a cure coat has been applied.******************************************************************************

Select either of the curing compounds in the paragraph above or one of the curing and sealing compounds in the paragraph below. Verify VOC limitations of authorities having jurisdiction before selecting SCOFIELD® Cureseal-S. Where VOC limits are required for solvent-based curing and sealing compounds, refer to SCOFIELD® Cureseal-VOC.

******************************************************************************

    - Verify adequacy of slip resistance.

  - PROTECTION OF FINISHED WORK

A.      The General Contractor is responsible for using Temporary Floor Protection throughout          the project to safeguard the surface quality of concrete slabs before and after application of decorative finishes or installations of other materials.

        - All concrete floors that will be not be covered by other materials will be protected throughout the project. The concrete slab must be treated as a finished floor at all times during construction.

        - Temporary Floor Protection will be removed only while finish work to the concrete is being performed and will be replaced after the final finish has cured sufficiently.

        - Temporary Floor Protection will be SCOFIELD Proguard Duracover, manufactured by Sika Corporation. Seaming of the temporary floor protection will be performed with SCOFIELD Proguard Heavy Duty Seaming Tape.  Both products will be installed following the manufacturer’s published installation procedures.

        - DO NOT APPLY THE HEAVY DUTY SEAMING TAPE TO BARE OR FINISHED FLOORS OR WALL SURFACES AT ANY TIME. IT WILL PERMANENTLY DAMAGE THE FLOOR

        - No substitutions will be allowed.

******************************************************************************

Coordinate Schedule name with Drawings or delete Article if Schedule is not required.

******************************************************************************

  - SCHEDULE

    - Refer to Room Finish Schedule for locations of specified floor finish.

  - APPLICATOR

    - For a list of qualified contractors, contact your local Scofield representative.

END OF SECTION

© Sika Corporation