Sarnafil® G476 Protected Membrane Roof (PMR)

Lightguard System

DISCLAIMER

All information provided by Sika Corporation (“Sika”) concerning Sika products, including but not limited to, any recommendations and advice relating to the application and use of Sika products, is given in good faith based on Sika’s current experience and knowledge of its products when properly stored, handled and applied under normal conditions in accordance with Sika’s instructions. In practice, the differences in materials, substrates, storage and handling conditions, actual site conditions and other factors outside of Sika’s control are such that Sika assumes no liability for the provision of such information, advice, recommendations or instructions related to its products, nor shall any legal relationship be created by or arise from the provision of such information, advice, recommendations or instructions related to its products. The user of the Sika product(s) must test the product(s) for suitability for the intended application and purpose before proceeding with the full application of the product(s). Sika reserves the right to change the properties of its products without notice. All sales of Sika product(s) are subject to its current terms and conditions of sale which are available at usa.sarnafil.sika.com or by calling 800-451-2504.

Prior to each use of any Sika product, the user must always read and follow the warnings and instructions on the product’s most current Product Data Sheet, product label and Safety Data Sheet which are available online at usa.sarnafil.sika.com or by calling Sika's Technical Service Department at 800-451-2504. Nothing contained in any Sika materials relieves the user of the obligation to read and follow the warnings and instruction for each Sika product as set forth in the current Product Data Sheet, product label and Safety Data Sheet prior to product use.

Sika warrants this product for one year from date of installation to be free from manufacturing defects and to meet the technical properties on the current Product Data Sheet if used as directed within shelf life. User determines suitability of product for intended use and assumes all risks. Buyer’s sole remedy shall be limited to the purchase price or replacement of product exclusive of labor or cost of labor.

NO OTHER WARRANTIES EXPRESS OR IMPLIED SHALL APPLY INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR A PARTICULAR PURPOSE. SIKA SHALL NOT BE LIABLE UNDER ANY LEGAL THEORY FOR SPECIAL OR CONSEQUENTIAL DAMAGES. SIKA SHALL NOT BE RESPONSIBLE FOR THE USE OF THIS PRODUCT IN A MANNER TO INFRINGE ON ANY PATENT OR ANY OTHER INTELLECTUAL PROPERTY RIGHTS HELD BY OTHERS.

With respect to any guide specifications prepared and provided by Sika, such guide specifications are generic and nature and are provided as a general guide for informational purposes only to architects or roof designers/specifiers.  Sika guide specifications are not intended to replace sound engineering and architectural practices and should not be relied upon for that purpose.  Sika assumes no liability with respect to the provision of this guide specification, the preparation of the guide specifications, the design of the roofing or waterproofing system, the preparation and approval of the details and shop drawings, or for determining their suitability for a particular project or application.  The architect, consultant and/or engineer or design professional for a particular project bears the sole responsibility for the design of the roofing or waterproofing system, for the preparation of the specifications, the preparation and approval of the details and shop drawings, and for determining their suitability for a particular project or application.  Sika makes no warranty of any kind, either express or implied, as to the contents of these guide specifications.  SIKA SHALL NOT BE RESPONSIBLE UNDER ANY LEGAL THEORY TO ANY THIRD PARTY FOR ANY DIRECT OR CONSEQUENTIAL DAMAGES OF ANY KIND ARISING FROM THE USE OF THESE GUIDE SPECIFICATIONS.

Introduction

Sarnafil G476 PMR Lightguard System Description	2

System Components	2

Regional Offices	3

Part 1 – General Conditions

1.01 Description	1

1.01 Quality Assurance	1

1.02 Submittals	2

1.03 Code Requirements	2

1.04 Product Delivery, Storage and Handling	2

1.05 Job Conditions	3

1.06 Bidding Requirements	5

1.07 Warranties	5

1.08 Warranty Durations	5

Part 2 - Products

2.01 General	5

2.02 Membrane	6

2.01 Flashing Materials	6

2.01 Leveling and Separation Layers	9

2.01 Insulations / Roof Boards	9

2.01 Sarnatherm Insulated Paver	11

2.01 Attachment Components	11

2.01 Deck Primers	12

2.01 Vapor Retarders	13

2.01 Miscellaneous Accessories	13

2.01 Sealants and Pitch Pocket Fillers	13

2.01 Miscellaneous Fasteners and Anchors	14

2.02 Related Materials	14

Part 3 – Execution

3.01 Pre-Construction Conference	14

3.01 Substrate Condition	14

3.01 Substrate Preparation	15

3.01 Substrate Inspection	18

3.01 Leveling Layer Installation (As Required)	18

3.01 Vapor Retarder Installation (As Required)	19

3.01 Wood Nailer Installation	20

3.01 Insulation Installation (As Required)	21

3.01 Installation of Sarnafil Membrane	21

3.01 Hot-Air Welding of Seam Overlaps	22

3.01 Separation Layer Installation	23

3.01 Ballasting of Sarnafil Membrane	23

3.01 Membrane Flashings	26

3.01 Metal Flashings	26

3.09 Sarnaclad Metal Base Flashings/Edge Metal	27

3.10 Edge Metal	27

3.01 PMR Ballast Paver Termination Metal	28

3.01 Temporary Cut-Off	29

3.02 Completion	29

3.03 Details	30

INTRODUCTION

Sarnafil G476 PMR Lightguard System Description

The Sika Corporation® Protected Membrane Roof (PMR) Lightguard System represents a roofing application alternative that provides maximum protection for the roofing membrane.  In a Sika Corporation PMR Lightguard System, Sarnatherm Lightguard is installed over a separation sheet on top of the Sarnafil G476 membrane (see typical cross section below).  Sarnatherm Lightguard holds the system in place and protects the Sarnafil membrane from light rooftop traffic.

In the Sika Corporation PMR Lightguard System the Sarnafil G476 membrane is loose-laid over a prepared substrate and the seams are heat-welded and checked for inconsistencies.  Prior to installing Sarnatherm Lightguard a separation sheet is installed over the Sarnafil G476 membrane.  Sarnatherm Lightguard is installed as ballast securing the system in place.  Sarnatherm Lightguard is an interlocking, composite board consisting of latex modified concrete bonded to extruded polystyrene insulation.

The weight of the Sika Corporation PMR Lightguard System may add 4.4 (or more) pounds per square foot (21 kg per m²) to the dead load of a building.  As a result, the specifier must determine if a structural analysis of the building deck is needed to establish the suitability of the deck and to ensure that the building structure can safely support the significant roofing loads from the Sika Corporation PMR Lightguard System.

The attached Guide Specification should be amended as required to meet the project's needs.

We welcome you to review the following Guide Specifications and Detail Drawings and we ask that you contact us if you have any questions or need any additional information.

Thank you for choosing Sika Corporation for your roofing and waterproofing needs.

System Components

| The Sika Corporation PMR Lightguard System design includes the following: #### Sarnafelt NWP-HD leveling layer (optional). #### G476 membrane. #### Sarnafelt NWP separation layer. #### Sarnatherm Lightguard Paver. |  |
| --- | --- |

REGIONAL OFFICES

| NEW ENGLAND REGION 225 Dan Road Canton, MA 02021 Phone:(781) 821-0865 Fax:(781) 821-9205 EASTERN REGION One Park Way 3rd Floor Upper Saddle River, NJ 07458 Phone:(201) 327-0479 Fax:(201) 327-4069 SOUTHERN REGION 3483 Satellite Boulevard Duluth, GA 30096 Phone:(770) 495-0025 Fax:(770) 495-0027 MIDWEST REGION 200 W. 22nd St., Suite 216 Lombard, IL 60148 Phone:(800) 532-5123 Fax:(630) 620-9646 | SOUTHWEST REGION 2517 Fairway Park, Suite 200 Houston, TX 77092 Phone: (713) 812-0102 Fax: (713) 812-0107 MOUNTAIN REGION 2881 South 900 West Salt Lake City, UT 84119 Phone:(801) 575-8648 Fax:(801) 355-4407 WESTERN REGION NORTH 2375 Rodolfo Court Sparks, NV 89436 Phone:(775) 626-7701 Fax:( 775) 626-7703 WESTERN REGION SOUTH 6590 Darin Way Cypress, CA 90630 Phone:(714) 898-9355 Fax:(714) 898-9357 |
| --- | --- |
| WEB ADDRESS: www.sikacorp.com | EMAIL ADDRESS: webmaster.sarnafil@us.sika.com |
| SIKA CANADA - ROOFING 6915 Davand Drive Mississauga, ON L5T 1L5 Phone:(905) 795-3177 Fax:(905) 795-3192 www.sika.ca |  |

SECTION 075419.08

LOOSE-LAID PROTECTED MEMBRANE ROOF (PMR)

THERMOPLASTIC MEMBRANE ROOFING

FEATURING SARNATHERM LIGHTGUARD

[NOTE TO SPECIFIER:  NOTES TO SPECIFIER ARE DESIGNATED BY [ ].  SPECIFIER IS TO SELECT ONE OF THE OPTIONS PROVIDED FOR PROJECT SPECIFIC SPECIFICATIONS.]

TO DISPLAY OR HIDE SPECIFIER NOTES

MS Word 2007:	MS Word (prior to 2007):

1. Select the OFFICE BUTTON/logo in the upper left corner.	1. Select TOOLS.

2. Select WORD OPTIONS in the lower right corner.	2. Select OPTIONS.

3. Select DISPLAY on the left menu.	3. Select VIEW.

4. Select HIDDEN TEXT under “Always Show These”.	4. Select HIDDEN TEXT.

# GENERAL CONDITIONS

## DESCRIPTION

### Scope

To install a Sika Corporation loose laid protected membrane roof (PMR) system with flashings and other components.

### Related Work

The work includes but is not limited to the following:

#### Removal of Existing Roofing and Insulation

#### Substrate Preparation

#### Roof Drains

#### Vapor Barrier (If Specified)

#### Wood Blocking

#### Geotextile Leveling Layer (If Specified)

#### Roof Membrane

#### Separation Layer

#### Membrane Flashings

#### Metal Flashings

#### Fasteners

#### Adhesive for Flashings

#### Sealants

#### Pavers

### Upon successful completion of work the following warranties may be obtained:

#### Sika Corporation Warranty

#### Roofing Applicator Warranty

## QUALITY ASSURANCE

### This roofing system shall be applied only by a Roofing Applicator authorized by Sika Corporation prior to bid (Sika Corporation "Applicator").

### Installation of leveling layer, roofing membrane, separation layer, flashing membrane, expansion joints, membrane protection layers, insulation, drainage layer and pavers shall be the responsibility of the membrane Applicator to ensure undivided responsibility.

### Upon completion of the installation and the delivery to Sika Corporation by the Applicator of certification that all work has been done in strict accordance with the contract specifications and Sika Corporation's requirements, a Sika Corporation Technical Service Representative will review the installed roof system wherever a System Warranty has been specified.

### There shall be no deviation made from the contract specification or the approved shop drawings without prior written approval by the Owner or the Owner’s representative, and design professional, and Sika Corporation.

### All work pertaining to the installation of Sarnafil membrane and flashings shall only be completed by Applicator personnel trained and authorized by Sika Corporation in those procedures.

## SUBMITTALS

At the time of bidding, the Applicator shall submit to the Owner (or Representative) the following:

### Copies of Specification.

### Samples of each primary component to be used in the roof system and the manufacturer's current literature for each component.

### Written approval by the insulation manufacturer (as applicable) for use and performance of the product in the proposed system.

### Sample copy of Sika Corporation's warranty.

### Sample copy of Applicator's warranty.

### Dimensioned shop drawings which shall include:

#### Outline of roof with roof size and elevations shown.

#### Profile details of flashing methods for penetrations.

### Certifications by manufacturers of roofing and insulating materials that all materials supplied comply with all requirements of the identified ASTM and other industry standards or practices.

### Certification from the Applicator that the system specified meets all identified code and insurance requirements as required by the Specification.

### Safety Data Sheets (SDS)

## CODE REQUIREMENTS

The Applicator shall submit evidence that the proposed roof system meets the requirements of the local building code and has been tested and or accepted by the following test organizations.  These requirements are minimum standards and no roofing work shall commence without written documentation of the system's compliance, as required in the "Submittals" section of this specification.

[NOTE TO SPECIFIER:  IF REQUIRED, SELECT FROM A, or B 1-3 , and C 1-3 BELOW.]

˙

### System shall be designed to meet a minimum wind design requirements of the most recent version of ASCE 7.

### Factory Mutual Research Corporation (FM) - Norwood, MA

### Underwriters Laboratories, Inc. - Northbrook, IL

#### Class A assembly

#### Class B assembly

#### Class C assembly

## PRODUCT DELIVERY, STORAGE AND HANDLING

### All products delivered to the job site shall be in the original unopened containers or wrappings bearing all seals and approvals.

### Handle all materials to prevent damage.  Place all materials on pallets and fully protect from moisture.

### Membrane rolls shall be stored lying down on pallets and fully protected from the weather with clean canvas tarpaulins.  Unvented polyethylene tarpaulins are not accepted due to the accumulation of moisture beneath the tarpaulin in certain weather conditions that may affect the ease of membrane weldability.

### As a general rule all adhesives shall be stored at temperatures between 40 degree F (5 degree C) and 80 degree F (27 degree C).  Read instructions contained on adhesive canister for specific storage instructions.

### All flammable materials shall be stored in a cool, dry area away from sparks and open flames.  Follow precautions outlined on containers or supplied by material manufacturer/supplier.

### Any materials which the Owner’s representative or Sika Corporation determine to be damaged are to be removed from the job site and replaced at no cost to the Owner.

## JOB CONDITIONS

### Proceed with roofing membrane installation only after substrate preparation is complete.  Owner’s representative or design professional and roofing Applicator must accept substrate before proceeding with membrane installation.

### The structure must be designed to support the system.  The adequacy of the structural support must be verified in writing by the Owner, the Owner’s design professional, architect, or engineer.

### Sarnafil materials may be installed under certain adverse weather conditions but only after consultation with Sika Corporation, as installation time and system integrity may be affected.

### Only as much of the new roofing as can be made weathertight each day, including all flashing and detail work, shall be installed.  All seams shall be heat welded before leaving the job site that day.

### All work shall be scheduled and executed without exposing the interior building areas to the effects of inclement weather.  The existing building and its contents shall be protected against all risks.

### All surfaces to receive new membrane or flashings shall be dry.  Should surface moisture occur, the Applicator shall provide the necessary equipment to dry the surface prior to application.

### All new and temporary construction, including equipment and accessories, shall be secured in such a manner as to preclude wind blow-off and subsequent roof or equipment damage.

### Uninterrupted waterstops shall be installed at the end of each day's work and shall be completely removed before proceeding with the next day's work. Waterstops shall not emit dangerous or unsafe fumes and shall not remain in contact with the finished roof as the installation progresses.  Contaminated membrane shall be replaced at no cost to the Owner.

### The Applicator is cautioned that certain Sarnafil membranes are incompatible with asphalt, coal tar, heavy oils, roofing cements, creosote and some preservative materials.  Such materials shall not remain in contact with Sarnafil membranes.  The Applicator shall consult Sika Corporation regarding compatibility, precautions and recommendations.

### Arrange work sequence to avoid use of newly constructed roofing as a walking surface or for equipment movement and storage.  Where such access is absolutely required, the Applicator shall provide all necessary protection and barriers to segregate the work area and to prevent damage to adjacent areas.  A substantial protection layer consisting of plywood over Sarnafelt or plywood over insulation board shall be provided for all new and existing roof areas that receive rooftop traffic during construction.

### Prior to and during application, all dirt, debris and dust shall be removed from surfaces by vacuuming, sweeping, blowing with compressed air or similar methods.

### The Applicator shall follow all safety regulations as required by OSHA and any other applicable authority having jurisdiction.

### All roofing, insulation, flashings and metal work removed during construction shall be immediately taken off site to a legal dumping area authorized to receive such materials.  Hazardous materials, such as materials containing asbestos, are to be removed and disposed of in strict accordance with applicable City, State and Federal requirements.

### All new roofing waste material (i.e., scrap roof membrane, release paper, empty cans of adhesive) shall be immediately removed from the site by the Applicator and properly transported to a legal dumping area authorized to receive such material.

### The Applicator shall take precautions that storage and application of materials and equipment does not overload the roof deck or building structure.

### Installation of a Sarnafil G476 membrane over active coal tar pitch or a resaturated roof requires special consideration to protect the Sarnafil membrane from volatile fumes and materials.  Consult Sika Corporation for precautions prior to bid.

### Flammable adhesives and deck primers shall not be stored and not be used in the vicinity of open flames, sparks and excessive heat.

### All rooftop contamination that is anticipated or that is occurring shall be reported to Sika Corporation to determine the corrective steps to be taken.

### The Applicator shall verify that all roof drain lines are functioning correctly (not clogged or blocked) before starting work.  Applicator shall report any such blockages in writing (letter copy to Sika Corporation) to the Owner's Representative for corrective action prior to installation of the Sika Corporation roof system.

### Applicator shall immediately stop work if any unusual or concealed condition is discovered and shall immediately notify Owner of such condition in writing for correction at the Owner's expense (letter copy to Sika Corporation).

### Site cleanup, including both interior and exterior building areas that have been affected by construction, shall be completed to the Owner's satisfaction.

### All landscaped areas damaged by construction activities shall be repaired at no cost to the Owner.

### The Applicator shall install ballast and metal strapping at rates in accordance with T. Clear instructions.

### The Sarnafil membrane shall not be installed under the following conditions without consulting Sika Corporation’s Technical Dept. for precautionary steps:

#### The roof assembly permits interior air to pressurize the membrane underside.

#### Any exterior wall has 10 percent or more of the surface area comprised of opening doors or windows.

#### The wall/deck intersection permits air entry into the wall flashing area.

### Precautions shall be taken when using Sarnacol adhesives at or near rooftop vents or air intakes.  Adhesive odors could enter the building.  Coordinate the operation of vents and air intakes in such a manner as to avoid the intake of adhesive odor while ventilating the building.  Keep lids on unused cans at all times.

### Protective wear shall be worn when using solvents or adhesives or as required by job conditions.

## BIDDING REQUIREMENTS

### Pre-Bid Meeting:

A pre-bid meeting shall be held with the Owner's representative and involved trades to discuss all aspects of the project.  The Applicator's field representative or roofing foreman for the work shall be in attendance.  Procedures to avoid rooftop damage by other trades shall be determined.

### Site Visit:

Bidders shall visit the site and carefully examine the areas in question as to conditions that may affect proper execution of the work.  All dimensions and quantities shall be determined or verified by the Applicator.  No claims for extra costs will be allowed because of lack of full knowledge of the existing conditions unless agreed to in advance with the Owner or Owner's representative.

## WARRANTIES

### Sika Corporation Warranty

Upon successful completion of the work to Sika Corporation's satisfaction and receipt of final payment, the Sika Corporation Warranty shall be issued.

[NOTE TO SPECIFIER: SELECT DESIRED WARRANTY.]

#### Membrane Warranty

#### System Warranty (only products purchased from Sika Corporation are covered under System Warranty)

### Applicator/Roofing Contractor Warranty

Applicator shall supply Owner with a separate workmanship warranty.  In the event any work related to roofing, flashing, or metal is found to be within the Applicator warranty term, defective or otherwise not in accordance with Contract Documents, the Applicator shall repair that defect at no cost to the Owner.  Applicator's warranty obligation shall run directly to Owner, and a copy shall be sent to Sika Corporation.

### Owner Responsibility

Owner shall notify both Sika Corporation and the Applicator of any leaks as they occur during the time period when both warranties are in effect.

## WARRANTY DURATIONS

[NOTE TO SPECIFIER:  SPECIFY EITHER 5, 10, 15, OR 20YEAR DURATION BELOW FOR SIKA CORPORATION WARRANTY]

˙

### Sika Corporation’s warranty shall be in effect for a           year duration.

### Applicator’s/Roofing Contractor’s Warranty shall be in effect for a           year duration.

# PRODUCTS

##### GENERAL

### The components of the Sarnafil ballasted roof system are to be products of Sika Corporation as indicated on the Detail Drawings and specified in the Contract Documents.

### Components to be used that are other than those supplied or manufactured by Sika Corporation may be submitted for review and acceptance by Sika Corporation.  Sika Corporation's acceptance of any other product is only for a determination of compatibility with Sika Corporation products and not for inclusion in the Sika Corporation warranty.  The specifications, installation instructions, limitations, and restrictions of the respective manufacturers must be reviewed by the Owner's representative for acceptability for the intended use with Sika Corporation products.

### Condensation or moisture migration into the roof system must be controlled so that it does not compromise the performance of the insulation and other components of the assembly.  Moisture vapor tends to migrate from warmer to cooler areas.  Air/vapor retarders are used to inhibit or block the flow of warm moist air into the roof system.  To determine if an air/vapor barrier is necessary, a design professional with experience with air handling and moisture control should be consulted.

Special consideration should be given to construction related moisture.  An example is the significant amount of moisture generated when concrete floor slabs are poured after the roof has been installed.  Sika Corporation is not responsible for damage to the insulation when exposed to construction related moisture.

##### MEMBRANE

### Sarnafil G476 fiberglass reinforced membrane.

### Membrane shall conform to the ASTM D4434 (current version), “Standard for Polyvinyl Chloride Sheet Roofing”, Classification:  Type II, grade 1.

#### [NOTE TO SPECIFIER:  60 MILS IS THE STANDARD THICKNESS FOR SARNAFIL PMR ROOFING MEMBRANE AND IT IS RECOMMENDED FOR MOST APPLICATIONS.  OTHER THICKNESSES ARE AVAILABLE BASED ON PROJECT SPECIFIC DESIGN CRITERIA AND ARE SHOWN BELOW.  DURABILITY AND PUNCTURE RESISTANCE IS A FUNCTION OF MEMBRANE THICKNESS.  DO NOT USE G476 IN SITUATIONS WHERE THE MEMBRANE WILL BE PERMANENTLY EXPOSED TO SUNLIGHT.  LIST THICKNESS OF MEMBRANE DESIRED – TOP ITEM SHOWN UNDER PHYSICAL PROPERTIES.]

˙

- Sarnafil G476-15, 60 mil (1.5 mm), thermoplastic waterproofing membrane with fiberglass reinforcement.

- Sarnafil G476-20, 80 mil (2.0 mm), thermoplastic waterproofing membrane with fiberglass reinforcement.

| Parameters | ASTM Test Method | Typical Physical Properties |
| --- | --- | --- |
| Reinforcing Material | - | Fiberglass |
| Overall Thickness(1), min., inches (mm) | D638 | [0.0 inches)] |
| Tensile Strength, min., psi (MPa) | D638 | 1600 (11.1) |
| Elongation at Break, min. (machine / transverse) | D638 | 240% / 240% |
| Seam strength(2), min. (% of breqking strength) | D638 | 90 |
| Retention of Properties After Heat Aging | D3045 | - |
| Tensile Strength, min., (% of original) | D638 | 95 |
| Elongation, min., (% of original) | D638 | 95 |
| Tearing Resistance, min., lbf (N) | D1004 | 21.3 (94.7) |
| Low Temperature Bend, -40º F (-40º C) | D2136 | Pass |
| Linear Dimensional Change | D1204 | 0.002% |
| Weight Change After Immersion in Water | D570 | 2.0% |
| Static Puncture Resistance, 56 lbf (250 N) | D5602 | Pass |
| Dynamic Puncture Resistance, 117.7 ft-lbf (5 J) | D5635 | Pass |
| Notes (1) Typical Physical Properties data is applicable for 0.048 in (1.2 mm) membrane thickness and greater. (2) Failure occurs through membrane rupture not seam failure. |  |  |

##### FLASHING MATERIALS

### Wall/Curb Flashing

[NOTE TO SPECIFIER:  BELOW YOU WILL FIND THE VARIOUS SARNAFIL FLASHING MEMBRANES USED FOR FLASHINGS AND PENETRATIONS.  THE FLASHING MEMBRANE SHOULD BE SPECIFIED AT THE SAME THICKNESS AS THE ROOFING MEMBRANE.  IF DIFFICULT DETAILS EXIST (I.E. PIPES) A LESSER THICKNESS MEMBRANE MAY BE SPECIFIED.  SELECT APPROPRIATE PRODUCT BELOW.]

˙

#### Membrane Flashings

                - Sarnafil G410-15, 60 mil (1.5 mm), thermoplastic flashing membrane with fiberglass reinforcement.

Sarnafil G410-20, 80 mil (2.0 mm), thermoplastic flashing membrane with fiberglass reinforcement.

Sarnafil G410-24, 96 mil (2.4 mm), thermoplastic flashing membrane with fiberglass reinforcement.

Sarnafil G459-15, 60 mil (1.5 mm), thermoplastic, asphalt resistant flashing membrane with fiberglass reinforcement.

#### PVC Clad Metal Flashings

                - Sarnaclad

A PVC-coated, heat-weldable sheet metal capable of being formed into a variety of shapes and profiles.  Sarnaclad is a 24 gauge, G90 galvanized metal sheet with a 20 mil (0.5 mm) unsupported Sarnafil membrane laminated on one side.  The dimensions of Sarnaclad are 4 ft x 8 ft (1.2 m x 2.4 m) or 4 ft x 10 ft (1.2 m x 3.0 m).  Consult Product Data Sheet for additional information.

### Perimeter Edge Flashing

[NOTE TO SPECIFIER:  SELECT 1, 2, OR 3 AND SPECIFY COLOR.]

˙

#### Edge Grip Fascia

A prefabricated perimeter edge system provided by Sika Corporation.  The system has concealed fasteners with no penetrations on the horizontal roof surface and includes fasteners and splice plates.  Edge Grip is made from two distinct parts.  A rigid retainer base plate and a decorative snap-on fascia cover.  The retainer is made from 20 gauge galvanized steel in 10 foot (3048 mm) standard lengths and is provided with 9/32 inch (7 mm) slotted pre-punched holes for fastener spacing at 12 inches (152 mm) on center.  As an option the retainer base plate is also available in 0.05 inch (1.3 mm) aluminum.  The snap-on fascia cover is available in 10 foot (3048 mm) lengths and in a variety of thickness, colors, finishes, and widths.  Kynar-500 colors are available for galvanized steel and natural mill finished aluminum.  Clear and anodized colors are available for anodized finished aluminum.  Matching corners, end caps, fascia sumps, spillouts, etc. are available as accessories.  Consult Product Data Sheet for additional information.

[NOTE TO SPECIFIER:  SELECT ONE RETAINER BASE PLATE EITHER A OR B.  SELECT ONE SNAP-ON FASCIA COVER EITHER C THROUGH F.  SELECT ONE SNAP-ON FASCIA FINISH EITHER G, H, OR I.  DELETE ITEMS THAT ARE NOT NEEDED.]

˙

- Retainer base plate shall be 20 gauge galvanized steel in 10 ft. lengths.

- Retainer base plate shall be 0.05 inch aluminum in 10 ft. lengths.

- Snap-on fascia cover shall be 24 gauge galvanized steel in 10 ft. lengths.

- Snap-on fascia cover shall be 0.04 inch aluminum in 10 ft. lengths.

- Snap-on fascia cover shall be 0.05 inch aluminum in 10 ft. lengths.

- Snap-on fascia cover shall be 0.063 inch aluminum in 10 ft. lengths.

- Snap-on fascia cover shall have a natural mill finish.

- Snap-on fascia cover shall have a Kynar finish.

- Snap-on fascia cover shall have a anodized finish.

- Snap-on fascia cover color shall be                                          .

#### Edge Grip Extruded Fascia

A heavy-duty prefabricated perimeter edge system provided by Sika Corporation.  The system has concealed fasteners with no penetrations on the horizontal roof surface and includes fasteners and splice plates.  Edge Grip Extruded is made from two distinct parts.  A heavy-duty extruded retainer base plate and a decorative snap-on fascia cover.  The extruded retainer is made from 0.10 inch (2.5 mm) extruded aluminum in 10 foot (3048 mm) standard lengths and is provided with 0.187 inch (4.7 mm) pre-punched slotted holes for fastener spacing at 12 inches (152 mm) on center.  The snap-on fascia cover is available in 10 foot (3048 mm) lengths and in a variety of thickness, colors, finishes, and widths.  Kynar-500 colors are available for galvanized steel and natural mill finished aluminum.  Clear and anodized colors are available for anodized finished aluminum.  Matching corners, end caps, fascia sumps, spillouts, etc. are available as accessories.  Consult Product Data Sheet for additional information.

[NOTE TO SPECIFIER:  SELECT ONE SNAP-ON FASCIA COVER EITHER B THROUGH E.  SELECT ONE SNAP-ON FASCIA FINISH EITHER F, G, OR H.  DELETE ITEMS THAT ARE NOT NEEDED.]

˙

- Retainer base plate shall be 0.10 inch aluminum in 10 ft. lengths.

- Snap-on fascia cover shall be 24 gauge galvanized steel 10 ft. lengths.

- Snap-on fascia cover shall be 0.04 inch aluminum in 10 ft. lengths.

- Snap-on fascia cover shall be 0.05 inch aluminum in 10 ft. lengths.

- Snap-on fascia cover shall be 0.063 inch aluminum in 10 ft. lengths.

- Snap-on fascia cover shall have a natural mill finish.

- Snap-on fascia cover shall have a Kynar finish.

- Snap-on fascia cover shall have a anodized finish.

- Snap-on fascia cover color shall be                                          .

#### Sarnaclad

A PVC-coated, heat-weldable sheet metal capable of being formed into a variety of shapes and profiles.  Sarnaclad is a 24 gauge, G90 galvanized metal sheet with a 20 mil (0.5 mm) unsupported Sarnafil membrane laminated on one side.  The dimensions of Sarnaclad are 4 ft x 8 ft (1.2 m x 2.4 m) or 4 ft x 10 ft (1.2 m x 3.0 m).  Consult Product Data Sheet for additional information.

#### Non-Typical Edge

Project-specific perimeter edge detail reviewed and accepted for one-time use by Sika Corporation's Technical Department.  Minimum 22 gauge ASTM grade 304 stainless steel, ASTM AZ55, Galvalume, or Zincalume.  Dimensions are 3 inches (76mm) wide x max. 12 feet (3.6m) long.  Consult Regional Technical Manager prior to job start for review and consideration for acceptance.

### Miscellaneous Flashing

#### Detail Membrane

A 60 mil (1.5 mm) fiberglass reinforced membrane, available 12″ x 50′ (30.5 cm x 15.2 m) roll and 24″ x 50′ (61 cm x 15.2 m) roll, more pliable than Sarnafil G410 membrane, good use for flashing pipes, corners, and unusual shaped penetrations. Consult Product Data Sheet for additional information.

#### Sarnacircles

A 60 mil (1.5mm) thick prefabricated 4 1/2 in. round circle patch injection molded. Consult Product Data Sheet for additional information.

#### Sarnacorners - Inside

A 60 mil (1.5 mm) thick prefabricated inside corner injection molded.  Consult Product Data Sheet for additional information.

#### Sarnacorners - Outside

A 60 mil (1.5 mm) thick prefabricated outside corner injection molded.  Consult Product Data Sheet for additional information.

#### Sarnastack Universal, A, B, or C

A 60 mil (1.5 mm) thick prefabricated stack/pipe boot injection molded.  Consult Product Data Sheets for additional information.

#### Open Post Flashing

A 48 mil (1.2 mm) thick prefabricated flashing using weld technology convenient to flash obstructed rooftop conduits and pipes.  Open post flashings are fabricated with an open seam and are available in different sizes.  Consult Product Data Sheet for sizes and additional information.

#### Sarnareglet

A heavy-duty, extruded aluminum flashing termination reglet used at walls and large curbs.  Sarnareglet is produced from 6063-T5, 0.10 inch to 0.12 inch (2.5 mm to 3.0 mm) thick extruded aluminum.  Sarnareglet has a 2-1/4 inch (57 mm) deep profile, and is provided in 10 foot (3 m) lengths.  Use prefabricated Sarnareglet mitered inside and outside corners where walls intersect. Consult Product Data Sheet for additional information.

#### Sarnadrain - UFlow

A seamless heavy-duty aluminum drain, featuring a coated flange for hot air welding of Sarnafil membranes.  Sarnadrain-Uflow consists of a one-piece spun, 0.125 in.(3.175 mm), 11 gauge thick aluminum body, a 17.5” (445 mm) diameter, and a 12” (305 mm) long drain stem.

#### Sarnacol 2170 Adhesive

A solvent-based reactivating adhesive used to attach membrane to flashing substrate. Typical flashing substrate coverage rate is 45-60ft² /gal (1.10–1.47m²/L) . Consult Product Data Sheets for additional information.

#### Sarnacol 2170 VC Adhesive

A solvent-based, VOC compliant, reactivating adhesive used to attach membrane to flashing substrate. Typical flashing substrate coverage rate is 45-60ft² /gal (1.10–1.47m²/L). Consult Product Data Sheets for additional information.

#### Sarnafelt

A leveling and/or separation layer that is necessary behind Sarnafil G410 or G459 Flashing Membrane when the flashing substrates are rough or incompatible with the flashing membrane.  When Sarnafelt is used as a leveling and/or separating layer a 2nd coat on the dried substrate at the same rate is required to adhere the felt and then the membrane.  Consult Product Data Sheets for additional information.

##### LEVELING AND SEPARATION LAYERS

### Sarnafelt NWP-HD

A non-asphaltic, non-woven polypropylene felt leveling layer used between irregular substrates and the roofing membrane.

### Sarnafelt NWP

A non-asphaltic, non-woven polypropylene felt separation layer used between roofing membrane and polystyrene insulation/Sarnatherm Lightguard.

##### INSULATIONS / ROOF BOARDS

[NOTE TO SPECIFIER:  SELECT ONLY ONE TYPE OF INSULATION TO SPECIFY.]

### Sarnatherm

A 20 or 25 psi rigid polyisocyanurate insulation board with a glass fiber reinforced cellulosic felt facer.  One side is marked that can be used for hot BUR and modified bitumen.  Available in 4 x 4 ft (1.2 x 1.2 m) or 4 x 8 ft (1.2 x 2.4 m) flat and tapered sizes in various thicknesses.  Consult Product Data Sheet for additional information.

### Sarnatherm CG

A 20 or 25 psi rigid polyisocyanurate insulation board with a coated polymer bonded glass fiber mat facer.  A glass mat facer CANNOT be used with hot-applied systems.  Available in 4 x 4 ft (1.2 x 1.2 m) or 4 x 8 ft (1.2 x 2.4 m) flat or tapered sizes in various thicknesses.  Consult Product Data Sheet for additional information.

### ACFoam IV

A 20 or 25 psi rigid polyisocyanurate insulation board with integrally laminated heavy, durable, and dimensionally stable coated polymer bonded glass fiber mat facer.  Glass mat facers CANNOT be used with hot-applied systems.  Available in 4 x 4 ft (1.2 x 1.2 m) or 4 x 8 ft (1.2 x 2.4 m) flat or tapered sizes in various thicknesses.

[NOTE TO SPECIFIER:  POLYSTYRENE INSULATIONS SHOULD NOT BE USED IN DIRECT CONTACT WITH CHIMNEYS, HEATER VENTS, STEAM PIPES OR OTHER SURFACES WHERE TEMPERATURES EXCEED 150°F (65.5°C).  POLYSTYRENE INSULATIONS SHOULD HAVE ADDITIONAL PROTECTION IN ADDITION TO NORMALLY SPECIFIED COVER BOARDS IN AREAS WHERE DARK MEMBRANES ARE USED AND WHERE "REFLECTED SOLAR ENERGY" IS EXPECTED TO BE PRESENT.  AREAS ADJACENT TO HIGHER WALLS OR OTHER STRUCTURES WITH REFLECTIVE CLADDING SHOULD BE CONSIDERED FOR ADDITIONAL HEAT PROTECTION.  FOR EXAMPLE AREAS NEAR METAL OR GLASS CLADDING, OR NEAR, OR IN BETWEEN LARGE GROUPINGS OF MECHANICAL EQUIPMENT, OR NEAR HIGHER REFLECTIVE PARAPETS, SHOULD BE CONSIDERED FOR ADDITIONAL HEAT PROTECTION.  ADDITIONAL HEAT PROTECTION FOR SUCH ROOF AREAS INCLUDE COVERING ROOFING MEMBRANE WITH SARNAFIL PVC PROTECTION LAYER AND THEN APPLYING PAVERS OR BALLAST TO THE AFFECTED AREA.

A separation layer of polyisocyanurate, gypsum, or approved slip sheet must be placed between the styrene boards and Sarnafil membrane.

USE A THERMAL BARRIER BETWEEN METAL ROOF DECK AND POLYSTYRENE INSULATION ON FM INSURED PROJECTS OR WHEN REQUIRED BY LOCAL CODE.]

### Sarnatherm EPS

### A closed-cell expanded polystyrene foam insulation board.  Available in 4 ft x 4 ft (1.2 m x 1.2 m) or 4 ft x 8 ft (1.2 m x 2.4 m) flat and tapered sizes in various thicknesses.  Consult Product Data Sheets for additional information.

### Sarnatherm XPS

A closed-cell extruded polystyrene foam insulation board with a smooth skin surface on the face and back surfaces.  Available in 2 ft x 8 ft (0.6 m x 2.4 m) or 4 ft x 8 ft (1.2 m x 2.4 m) flat or tapered sizes in various thicknesses and compressive strengths.  Consult Product Data Sheets for additional information.

[NOTE TO SPECIFIER:  IF REQUIRED, SELECT ONE ROOF BOARD.]

### Sarnatherm Roof Board-A

A >90 psi high density polyisocyanurate roof board with a coated glass facer, provided in 4 ft. x 4 ft. (1.2 m x 1.2 m) and 4 ft. x 8 ft. (1.2 m x 2.4 m) board sizes and in a thickness of 1/2 inch (12.7 mm).  Consult Product Data Sheet for additional information.

### Sarnatherm Roof Board-H

A >100 psi high density polyisocyanurate roof board with a coated glass facer, provided in 4 ft. x 4 ft. (1.2 m x 1.2 m) and 4 ft. x 8 ft. (1.2 m x 2.4 m) board sizes and in a thickness of 1/2 inch (12.7 mm).  Consult Product Data Sheet for additional information.

### Sarnatherm Roof Board-M

A 150 psi high density polyisocyanurate roof board with a coated glass facer, provided in 4 ft. x 4 ft. (1.2 m x 1.2 m) and 4 ft. x 8 ft. (1.2 m x 2.4 m) board sizes and in a thickness of 1/4 inch (6.6 mm).  Consult Product Data Sheet for additional information.

### Sarnatherm Fanfold

A 3/8 inch (9.5 mm) thick extruded polystyrene (XPS) foam insulation board produced with high strength film facers on both sides which are compatible with Sika Corporation membranes.  Sarnatherm Fanfold is ideally suited for installation over existing roof systems including smooth or gravel surfaced B.U.R. and granular coated modified bitumen.  Sarnatherm Fanfold is supplied in 4 x 50 ft (1.2 x 15.2 m) sheets, folded every 2 ft (0.6 m).

### R-Tech FF

A fanfold consisting of lightweight closed-cell expanded polystyrene (EPS), with a polymeric laminate facer, good dimensional stability, and water resistant properties.  Ideally suited for recover applications, R-Tech FF comes in various thicknesses and either 4 x 50 ft (1.2 x 15.2 m) sheets or 4 x 8 ft (1.2 x 2.4 m) panels.

### ThermalStar LRi

### A fanfold consisting of lightweight closed-cell expanded polystyrene (EPS), with a polymeric laminate facer, good dimensional stability, and water resistant properties. Ideally suited for recover applications,  ThermalStar LRi comes in various thicknesses and either 4 x 50 ft (1.2 x 15.2 m) sheets or 4 x 8 ft (1.2 x 2.4 m) panels.

### DensDeck

Employs fiberglass mats front and back that are bonded to a high density gypsum core.  DensDeck is provided in a 4 x 8 ft (1.2 x 2.4 m) board size and in thicknesses of 1/4, 1/2 and 5/8 inch (6, 13 and 16 mm).  Consult Product Data Sheet for additional information.

### DensDeck Prime

Employs enhanced fiberglass mats front and back that are bonded to a high density gypsum core.  DensDeck Prime is provided in 4 ft. x 4 ft. (1.2 m x 1.2 m) or 4 x 8 ft (1.2 x 2.4 m) board sizes and in thicknesses of 1/4, 1/2 and 5/8 inch (6, 13 and 16 mm).  Consult Product Data Sheet for additional information.

### Securock Gypsum-Fiber

A fiber-reinforced, homogenous composition gypsum roof board.  Securock Gypsum-Fiber is provided in 4 ft. x 4 ft. (1.2 m x 1.2 m) or 4 x 8 ft (1.2 x 2.4 m) board sizes and in thicknesses of 1/4 inch (6.6 mm), 3/8 inch (9.5 mm), 1/2 inch (12.7 mm) and 5/8 inch (15.9 mm).  Consult Product Data Sheet for additional information.

##### SARNATHERM  - GUARD

[NOTE TO SPECIFIER: SELECT A OR B AND SPECIFY IF COOLGUARD COATING IS TO BE APPLIED TO WEATHERING SURFACE.]

˙

### Sarnatherm - Lightguard

A cementitious surfaced closed cell foam panel (extruded polystyrene) with a nominal 3/8 inch (9.5mm) thick latex modified concrete mortar surface facing.

Product Information:

| Insulation Product (1) | Thickness(2) inches (mm) | Width x Length(3) inches (cm) |
| --- | --- | --- |
| Sarnatherm – Lightguard 40 psi (foam) | 2.375 (60.33) for 2 (50.8) foam 3.375 (85.73) for 3 (76.2) foam | 24 x 48 (60.96 x 121.9) 24 x 48 (60.96 x 121.9) |

### Sarnatherm - Heavyguard

A cementitious surfaced closed cell foam panel (extruded polystyrene) with a nominal 15/16 inch (23.8mm) thick latex modified concrete mortar surface facing.

Product Information:

| Insulation Product (1) | Thickness(2) inches (mm) | Width x Length(3) inches (cm) |
| --- | --- | --- |
| Sarnatherm – Heavyguard 40 psi (foam) | 2.938 (74.63) for 2 (50.8) foam 3.938 (100) for 3 (76.2) foam | 24 x 48 (60.96 x 121.9) 24 x 48 (60.96 x 121.9) |

(1) All products described above may not be available in all geographical markets.  Consult a local sales office for information.  (2) “R” per inch: 5.0 per inch of foam at 75 degree F (23.9 degree C) mean temperature.  (3) Other sizes available upon request.  Consult Sika Corporation for availability.

##### ATTACHMENT COMPONENTS

### Concrete Paver

Ballast for roof perimeter and penetrations greater than 4 feet (1.2m).  Shall be manufactured from a minimum 3,000 lb. per square inch concrete and weigh a minimum of 22 lb. per square foot.

### Metal Strapping

Used to strap Sarnatherm Lightguard together around the perimeter and .penetrations greater than 4 feet (1.2m).  Minimum 22 gauge ASTM grade 304 stainless steel, ASTM AZ55, Galvalume, or Zincalume.  Dimensions are 3 inches (76mm) wide x max. 12 feet (3.6m) long.

### Olympic Bulb Tite Blind Rivet 6604-8-10 Fastener

Used to secure metal strapping to Sarnatherm Lightguard.

### Fabco Fab-Lok 10-12 Fastener

Used to secure metal strapping to Sarnatherm Lightguard.

### TPR-2 Rivet Fastener

Used to secure metal strapping to Sarnatherm Heavyguard (15/16 inch) and Sarnatherm Coolguard Heavyguard (15/16 inch).

### Sarnafastener #14

A #14 corrosion-resistant fastener used with Sarnaplates to attach insulation and/or roof boards to structural concrete or wood roof decks.  Sarnafastener #14 has a shank diameter of 0.190 inch (4.8 mm), a thread diameter of 0.245 inch (6.2 mm) and a #3 Phillips drive head with a diameter of 0.435 inch (11 mm).

### Sarnafastener #15 XP

A #15 corrosion-resistant fastener used with Sarnaplates to attach insulation and/or roof boards to steel roof decks. Sarnafastener #15 XP has a shank diameter of approximately 0.21 inch (5.3 mm) and the thread diameter is approximately 0.26 inch (6.6 mm).  The driving head has a diameter of approximately 0.435 inch (11 mm) with a #3 Phillips recess for positive engagement.

### Fastener CD10

A nail-in, corrosion-resistant fastener used with Sarnaplates to attach insulation and/or roof boards to structural concrete, Fastener CD10 has a shank diameter of 0.215 inch (5.5 mm), a split diameter of 0.265/0.275 inch (6.7/7.0 mm) and a flat head with a 0.435 inch (11 mm) diameter.

### Sarnastop

An extruded aluminum, low-profile bar used with certain Sarnafasteners to attach Sarnafil flashing membrane to the top of walls/curbs in accordance with Sika Corporation’s Detail Drawings.  Sarnastop is a 1 inch (25 mm) wide, flat aluminum bar 1/8 inch (3 mm) thick that has predrilled holes every 6 inches (152 mm) on center. Consult Product Data Sheet for additional information.

### Sarnabar

An FM-approved, heavy-duty, 14 gauge, galvanized or stainless, roll-formed steel bar used to attach membrane to the roof deck.  The formed steel is pre-punched with holes every 1 inch (25 mm) on center to allow various Sarnafastener spacing options.  Consult Product Data Sheet for additional information.

### Sarnacord

A 5/32 inch (4 mm) diameter, red-colored, flexible thermoplastic extrusion that is welded to the top surface of the Sarnafil membrane and against the side of the Sarnabar, used to hold the membrane in position. Consult Product Data Sheet for additional information.

##### DECK PRIMERS

### Vapor Retarder Primer SB

A solvent-based primer used to prime wood, concrete, lightweight concrete, gypsum boards and decks, and DensDeck® boards prior to the application of Sika’s self-adhered vapor retarders.

### Vapor Retarder Primer VC

A VOC Compliant*, solvent-based primer used to prime wood, concrete, lightweight concrete, gypsum boards and decks, and DensDeck® boards prior to the application of Sika’s self-adhered vapor retarders.

### Vapor Retarder Primer WB (water-based)

A polymer emulsion-based primer used to prime wood, concrete, lightweight concrete, gypsum decks, and approved gypsum boards prior to the application of Sika’s self-adhered vapor retarders. Particularly recommended when the use of solvent-based primer is not advised and/or not permitted.

### Vapor Retarder Primer TA

A blend of bitumen and solvents for use on concrete decks prior to applying Sika’s torch-applied vapor retarders.  The primer improves the adhesion of Sika’s torch-applied vapor retarders to the properly prepared and fully dry concrete surface.

##### VAPOR RETARDERS

[NOTE TO SPECIFIER:  CONDENSATION OR MOISTURE MIGRATION INTO THE ROOF SYSTEM MUST BE CONTROLLED SO THAT IT DOES NOT COMPROMISE THE PERFORMANCE OF THE INSULATION AND OTHER COMPONENTS OF THE ASSEMBLY.  MOISTURE VAPOR TENDS TO MIGRATE FROM WARMER TO COOLER AREAS.  AIR/VAPOR RETARDERS ARE USED TO INHIBIT OR BLOCK THE FLOW OF WARM MOIST AIR INTO THE ROOF SYSTEM.  TO DETERMINE IF AN AIR/VAPOR BARRIER IS NECESSARY, A DESIGN PROFESSIONAL WITH EXPERIENCE IN AIR HANDLING AND MOISTURE CONTROL SHOULD BE CONSULTED.

SPECIAL CONSIDERATION SHOULD BE GIVEN TO CONSTRUCTION RELATED MOISTURE.  AN EXAMPLE IS THE SIGNIFICANT AMOUNT OF MOISTURE GENERATED WHEN CONCRETE FLOOR SLABS ARE POURED AFTER THE ROOF HAS BEEN INSTALLED.  SIKA CORPORATION IS NOT RESPONSIBLE FOR DAMAGE TO INSULATION WHEN EXPOSED TO CONSTRUCTION RELATED MOISTURE.]

[NOTE TO SPECIFIER:  FOR WARRANTY DURATIONS GREATER THAN 20 YEARS SARNAVAP-10 OR SARNAVAP SELF-ADHERED IS REQUIRED WHEN INTERIOR WINTER RELATIVE HUMIDITY IS GREATER THAN OR EQUAL TO 45 PERCENT AND THE JANUARY DESIGN TEMPERATURE IS LESS THAN OR EQUAL TO 40°F (4°C).]

### Vapor Retarder PE 10

A 10 mil (0.25 mm) thick polyethylene vapor retarder/air barrier.

### Vapor Retarder SA 31

A 31 mil (0.8 mm) thick self-adhered SBS modified bitumen vapor retarder/air barrier with a tri-laminated woven polyethylene facer.  Can also serve as temporary roof protection exposed for up to three (3) months.

### Vapor Retarder SA 106

A 106 mil (2.7 mm) thick self-adhered SBS polymer modified bitumen vapor retarder/air barrier with a non-woven polyester mat reinforcement and fine mineral aggregate (sand) topside.  Can also serve as temporary roof protection exposed for up to three (6) months.

### Vapor Retarder TA 138

A 138 mil (3.5 mm) thick torch applied SBS polymer modified bitumen vapor retarder with a non-woven polyester mat reinforcement and fine mineral aggregate (sand) topside.  Can also serve as temporary roof protection exposed for up to three (6) months.

##### MISCELLANEOUS ACCESSORIES

### Sarnamatic 641mc, 661, or 681

220 volt, self-propelled, hot-air welding machine used to seal Sarnafil membrane seams.

### Aluminum Tape

A 2 inch (50 mm) wide pressure-sensitive aluminum tape used as a separation layer between small areas of asphalt contamination and the membrane and as a bond-breaker under the coverstrip at Sarnaclad joints.

### Multi-Purpose Tape

A high performance sealant tape used with metal flashings as a preventive measure against air and wind blown moisture entry.

### Seam Cleaner

Seam Cleaner is used on PVC membranes to clean the in the seam area only.

##### SEALANTS AND PITCH POCKET FILLERS

### Sikaflex-1a (for termination details and pitch pocket toppings).

### Sarnafiller (two-component urethane adhesive for pitch pocket toppings).

### Mastic

### A cold applied, fiber reinforced high strength SBS modified bitumen mastic that is specially formulated to detail around penetrations and flashings where Sika vapor retarders and hybrid system ply sheets are used.

### Depending on substrates, the following sealants are options for temporary overnight tie-ins:

#### Type III hot asphalt conforming to ASTM D312 (current version).

#### Sarnafiller.

#### Multiple layers of roofing cement and felt.

#### Spray-applied, water-resistant urethane foam.

#### Mechanical attachment with rigid bars and compressed sealant.

##### MISCELLANEOUS FASTENERS AND ANCHORS

### All fasteners, anchors, nails, straps, bars, etc. shall be post-galvanized steel, aluminum or stainless steel.  Mixing metal types and methods of contact shall be assembled in such a manner as to avoid galvanic corrosion.  Fasteners for attachment of metal to masonry shall be expansion type fasteners with stainless steel pins.  All concrete fasteners and anchors shall have a minimum embedment of 1-1/4 inch (32 mm) and shall be approved for such use by the fastener manufacturer.  All miscellaneous wood fasteners and anchors used for flashings shall have a minimum embedment of 1 inch (25 mm) and shall be approved for such use by the fastener manufacturer.

##### RELATED MATERIALS

### Wood Nailer

Treated wood nailers shall be installed at the perimeter of the entire roof and around such other roof projections and penetrations as specified on Project Drawings.  Thickness of nailers must match the insulation thickness to achieve a smooth transition.  Wood nailers shall be treated for fire and rot resistance (wolmanized or osmose treated) and be #2 quality or better lumber.  Creosote or asphalt-treated wood is not acceptable.  Wood nailers shall conform to Factory Mutual Loss Prevention Data Sheet 1-49.  All wood shall have a maximum moisture content of 19 percent by weight on a dry-weight basis.

### Plywood

When bonding directly to plywood, a minimum 1/2 inch (12 mm) CDX (C side out), smooth-surfaced exterior grade plywood with exterior grade glue shall be used.  Rough-surfaced plywood or high fastener heads will require the use of Sarnafelt behind the flashing membrane.  Plywood shall have a maximum moisture content of 19 percent by weight on a dry weight basis.

# EXECUTION

###### PRE-CONSTRUCTION CONFERENCE

### The Applicator, Owner's Representative/Designer and Manufacturer(s) shall attend a pre-construction conference.

### The meeting shall discuss all aspects of the project including but not limited to:

#### Safety

#### Set up

#### Construction schedule

#### Contract conditions

#### Coordination of the work

###### SUBSTRATE CONDITION

### Loose laid membranes require a substrate that qualifies as an air barrier.  The Applicator must verify that all joints, penetrations and wall/deck junctures are sealed to prevent air infiltration into the area beneath the membrane.

When a fire resistant underlayment board is used as a thermal barrier, it must be mechanically attached to the deck according to uplift requirements for the roof system.  The deck must be made air tight by the following one of these methods.

- Install a layer of Sarnavap beneath the underlayment material with all seams and penetrations sealed.

- Install a layer of Peel and Stick vapor barrier over the secured underlayment material, sealing all joints and penetrations.

- If a gypsum or plywood underlayment is used, tape all joints and penetrations with aluminum tape.

### Applicator shall be responsible for acceptance or provision of proper substrate to receive new roofing materials.  Deck slop shall not exceed 2/12.

### Applicator shall verify that the work done under related sections meets the following conditions:

#### Roof drains and scuppers have been reconditioned or replaced and installed properly.

#### Roof curbs, nailers, equipment supports, vents and other roof penetrations are properly secured and prepared to receive new roofing materials.

#### All surfaces are smooth and free of dirt, debris and incompatible materials.

#### All roof surfaces shall be free of water, ice and snow.

###### SUBSTRATE PREPARATION

The roof deck and existing roof construction must be structurally sound to provide support for the new roof system.  The Applicator shall load materials on the rooftop in such a manner as to eliminate risk of deck overload due to concentrated weight.  The Owner's Representative shall ensure that the roof deck is secured to the structural framing according to local building code and in such a manner as to resist all anticipated wind loads in that location.  Prevention of air infiltration into the area beneath a loose laid or membrane is critical for wind stability.  All deck, wall, and penetration junctions must be sealed to prevent air infiltration.

### New Construction

#### Steel Deck:

                - FM approved steel deck - The roof deck shall be 22 gauge (minimum) and shall conform and be installed to meet the latest revision of FM's Loss Prevention Data Sheet 1-29 and the local code's current requirements.

Non-FM approved steel deck - The roof deck shall be 24 gauge (minimum) and shall conform and be installed to the local code's current requirements.

#### Wood Deck:

                - The roof deck shall be minimum 1-1/2 inch (38 mm) thick lumber or 15/32 inch (12 mm) thick plywood.  Deck shall be installed according to local code requirements, and be able to support the additional load of the paver system.  Contact Sika Corporation Technical for fastening patterns and methods.

#### Poured Lightweight (Cellular) Concrete Substrate:

The lightweight concrete shall be installed by a trained lightweight concrete Applicator in accordance with the lightweight concrete manufacturer's requirements and industry practice.  The surface shall be sealed with a water-based sealer accepted by the lightweight concrete manufacturer to create a surface free from dust and loose material.  The wet and dry densities shall be in accordance with the manufacturer's and FM’s (if applicable) requirements. Sharp ridges or other projections above the surface shall be removed before roofing. An insulation recover board is required as a substrate to adhere to.  Fastening shall be into the structural deck below the lightweight concrete (see steel/concrete deck requirements).

#### Poured Structural Concrete Deck:

The roof deck shall be installed and cured in accordance with industry standards.  The surface shall have a smooth and level finish and shall be free of dust, excess moisture, oil-based curing agents and loose debris.  Under no circumstances shall a sealer be used in lieu of a curing agent.  Sharp ridges or other projections above the surface shall be removed before roofing.  An insulation recover board is required as a substrate to adhere to.

#### Precast/Prestressed Concrete Panel Deck:

The roof deck shall be installed in accordance with the concrete panel manufacturer's requirements and industry practice.  The surface shall have a smooth and level finish and shall be free of dust, moisture, oil or loose debris.  All joints between precast units shall be grouted.  Any differentials in height between precast units shall be feathered for a smooth transition.  Sharp ridges or other projections above the surface shall be removed before roofing.  Panels shall be secured to structural supports as recommended by deck manufacturer. An insulation recover board is required as a substrate to adhere to.

#### Insulating Fill Substrate:

The lightweight fill shall be installed by a trained lightweight fill Applicator in accordance with the lightweight fill manufacturer's requirements and industry practice.  The surface shall be free from dust and loose fragments, be smooth, level, and free from moisture.  Sharp ridges or other projections above the surface shall be removed before roofing.  Proper venting as recommended by the roof deck manufacturer shall be provided.  An insulation recover board is required as a substrate to adhere to.  Fastening shall be into the structural deck below the insulating fill (see steel/concrete deck requirements).

#### Cementitious Wood Fiber Panel Deck:

The roof deck shall be installed in accordance with the deck manufacturer’s requirements and industry practice.  The surface shall have a smooth and level finish and shall be free of dust, moisture and loose debris.  All voids and joints shall be grouted.  Any differentials in height between precast units shall be feathered for a smooth transition.  Sharp ridges or other projections above the surface shall be removed before roofing.  Panels shall be secured to structural supports as recommended by the deck manufacturer.

#### Poured Gypsum Deck:

The gypsum shall be installed by a trained gypsum deck Applicator in accordance with the gypsum deck manufacturer’s requirements and industry practice.  The surface shall be free from dust and loose material, be smooth, level, and free from moisture.  Sharp ridges or other projections above the surface shall be removed before roofing.

### Reroofing with Removal of Existing Bitumen Roofing

General Criteria

All existing roofing, base flashing, deteriorated wood blocking or deteriorated metal flashings shall be removed.  Remove only that amount of roofing and flashing which can be made weathertight with new materials during a one-day period or before the onset of inclement weather.

#### Steel Deck:

                - FM Approved Steel Deck - All rusted or deteriorated decking shall be brought to the attention of the Owner's Representative and FM to determine method of treatment or replacement.  Surface-only rusted metal shall be sanded and treated with rust-inhibiting paint.  Sections that have rusted deeper than the surface or are not structurally sound shall be removed and replaced.  The use and type of steel roof deck construction shall conform to FM's recommendations as outlined in FM Loss Prevention data Sheet I-29 and local requirements.

Non-FM Approved Steel Deck - All rusted or deteriorated decking shall be brought to the attention of the Owner's Representative to determine method of treatment or replacement.  Surface-only rusted metal shall be sanded and treated with rust-inhibiting paint.  Sections that have rusted deeper than the surface or are not structurally sound shall be removed and replaced.  Deck type shall match existing and the attachment shall conform to local code requirements.

#### Wood Deck:

                - All rotted or deteriorated wood shall be removed and replaced.  The deck thickness shall be 1-1/2 inch (38 mm) lumber or 15/32 (12 mm) plywood or match existing deck if greater.  Deck type and attachment shall conform to local code requirements.  Fastener heads shall be recessed into the wood surface.

#### Poured Structural Concrete Deck:

The roof deck shall be smooth, even, free of dust, dirt, excess moisture or oil and be structurally sound.  Sharp ridges, other projections and accumulations of bitumen above the surface shall be removed to ensure a smooth surface before roofing.  Any deteriorated decking shall be repaired.

#### Poured Lightweight Concrete Substrate:

The roof deck shall be smooth, even, free of dust, dirt, excess moisture or oil and be structurally sound. Sharp ridges, other projections and accumulations of bitumen above the surface shall be removed to ensure a smooth surface before roofing.  Any deteriorated decking shall be repaired.

#### Precast/Prestressed Concrete Deck:

The roof deck shall be smooth, even, free of dust, dirt, excess moisture or oil and be structurally sound.  All joints between precast units shall be grouted.  Any differentials in height between precast units shall be feathered for a smooth transition.  Any deteriorated decking shall be repaired.

#### Insulating Fill Substrate:

All wet or deteriorated insulating fill shall be removed and replaced.  All accumulations of bitumen shall be removed and the surface of the deck shall be smooth, and free of ridges and depressions.  See steel/concrete requirements.

#### Cementitious Wood Fiber Deck:

The roof deck face shall be smooth, even, free of excess moisture and structurally sound. Joints over bulb-tees shall be grouted.  Grouting shall be done with materials supplied or recommended by the deck manufacturer.  All wet or deteriorated sections of decking shall be removed and replaced.  Deck planks shall be secured to structural supports as recommended by deck manufacturer.

#### Pour Gypsum Deck:

The roof deck shall be smooth, even, free of excess moisture and structurally sound. All wet or deteriorated gypsum shall be removed and replaced.  All accumulations of bitumen shall be removed and the surface of the deck shall be smooth and free of ridges and depressions. See steel / concrete requirements.

### Reroofing with Removal of Existing Single-Ply Roofing

[NOTE TO SPECIFIER:  SELECT C OR D.]

˙

General Criteria:

The Owner's Representative and Applicator shall determine the condition of the roof deck and existing insulation.  Deteriorated decking or wet or deteriorated materials are to be removed and replaced.  After removal of single-ply roof, inspect insulation boards and reuse only if dry and in stable condition.  Add a Sika Corporation approved recover board or new insulation board.  Fasten recover board or top layer of insulation in accordance with Sika Corporation's requirements.

### Reroofing Over Existing Single Ply Roofing

General Criteria:

The Owner's Representative and Applicator shall determine the condition of the roof deck and existing insulation.  Deteriorated decking or wet or deteriorated materials are to be removed and replaced.  Remove all debris from the existing single-ply roof and cut into 10 ft x 10 ft panels (3 m x 3 m).  Install a layer of a Sika Corporation approved recover board or a new insulation board over the fastened 10 ft x 10 ft (3 m x 3 m) panels and then fasten the board according to Sika Corporation's requirements.

### Reroofing Over Existing Bitumen Roofing

General Criteria:

The Owner's Representative and Applicator shall determine the condition of the existing roof deck and old roof system.  Areas with deteriorated decking or wet materials are to be removed and replaced.

#### On graveled surfaces, all loose gravel and debris shall be removed by power brooming or vacuuming.  All blisters shall be removed and sealed or cut, fastened down and sealed.  Any accumulation of bitumen or other irregularities shall be scratched and removed so as to produce a smooth surface.

#### On smooth surfaced roofs, the surface must be clean and dry.  All blisters shall be removed and sealed or cut, fastened down and sealed. For Type III hot asphalt attachment of new insulation board, priming of the old roof surface after preparation is necessary.

#### Coal-tar pitch or heavily resaturated roofs may require removal.  Contact Sika Corporation Technical for coal-tar pitch or heavily resaturated reroof preparation requirements.

###### SUBSTRATE INSPECTION

### A dry, clean and smooth substrate shall be prepared to receive the Sarnafil roof system.

### The Applicator shall inspect the substrate for defects such as excessive surface roughness, contamination, structural inadequacy, or any other condition that will adversely affect the quality of work.

### The substrate shall be clean, smooth, dry, free of flaws, sharp edges, loose and foreign material, oil and grease.  Roofing shall not start until all defects have been corrected.

### All roof surfaces shall be free of water, ice and snow.

### Sarnafil shall be applied over compatible and accepted substrates only.

### Loose laid membranes require a substrate that qualifies as an air barrier.  The Applicator must verify that all joints, penetrations and wall/deck junctures are sealed to prevent air infiltration into the area beneath the membrane.

When a fire resistant underlayment board is used as a thermal barrier, it must be mechanically attached to the deck according to uplift requirements for the roof system.  The deck must be made air tight by the following one of these methods.

- Install a layer of Sarnavap beneath the underlayment material with all seams and penetrations sealed.

- Install a layer of Peel and Stick vapor barrier over the secured underlayment material, sealing all joints and penetrations.

- If a gypsum or plywood underlayment is used, tape all joints and penetrations with aluminum tape.

###### LEVELING LAYER INSTALLATION (AS REQUIRED)

### Carefully inspect the substrate prior to installation of the leveling layer.  The surface shall be clean and smooth with no excessive surface roughness, contaminated surfaces or unsound substrates.

### Install leveling layer over deck, lapping all edges a minimum of 4 inches (10.2 cm).  Spot adhere to deck to hold in place, if necessary.

### Install only as much leveling layer as can be made weathertight at the end of each work period.

### The leveling layer felt is to be cut with either scissors or utility blades.  The use of hot air welding equipment to cut the product is not allowed.

          - VAPOR RETARDER INSTALLATION (AS REQUIRED BY DESIGNER)

General Criteria:

Interior (inside temperature/relative humidity) or exterior conditions may create a need for a vapor barrier.  The design professional shall decide whether a vapor barrier is necessary.  It is the design professional's responsibility to determine the type and location of a vapor barrier.  If sealed properly, a vapor barrier can also act as an air barrier (positive pressure) for roofs intended over air-permeable decks (steel, wood, precast, etc.).  When reroofing over the existing asphalt roof, the old roof may be considered to be an adequate vapor barrier/air barrier if the details are properly sealed.

### Vapor Retarder PE 10

- Vapor Retarder PE 10 is loose laid over suitable substrates.  Overlap all edges a minimum of 4 in (10.2 cm) and seal with Sika’s Multi-Purpose Tape.  Extend Vapor Retarder PE 10 to the perimeter and deck penetrations and seal with Sika’s Multi-Purpose Tape to provide continuity of the air/vapor envelope.  Seal Vapor Retarder PE 10 with Sika’s Multi-Purpose Tape on the vertical surface at roof penetrations.

### Vapor Retarder SA 31

      - All surfaces must be clean, sound, dry, and free of loose materials or contaminants such as water, frost, ice, oil and grease that would interfere with proper adhesion and compromise the performance of the product.

      - Prepare concrete surfaces to achieve a Concrete Surface Profile CSP 3 to CSP 5 in accordance with the International Concrete Repair Institute (ICRI) Technical Guideline No. 310.2R-2013.

      - Vapor Retarder Primer SB, Vapor Retarder Primer VC or Vapor Retarder Primer WB is required on all substrates except for steel.  Shake or stir primer before applying.  Let the primer dry completely.

      - Begin the installation at the low point of the roof.  Unroll Vapor Retarder SA 31 onto the substrate for alignment.  Overlap each sheet by 3 in (7.6 cm) on the side lap and 6 in (15.2 cm) on the end laps.

      - Once the roll is aligned, peel back a portion of the silicone release film and press Vapor Retarder SA 31 onto the substrate.  When securely adhered, remove the remaining release film from the roll.

      - On steel decks install a 6 in x 42 in (15.2 cm x 1.1 m) metal plate under the end lap to support the membrane between the steel flutes.  Stagger the end laps by at least 12 in (30.5 cm).

      - Use a minimum 100 lb (45 kg) steel roller to press the Vapor Retarder SA 31 onto the substrate including the laps.  Use the roller to push out any air bubbles out to the edge of the membrane.  Do not cut the membrane to remove a bubble.

      - Apply Sika’s Mastic to seal around penetrations, T-joints, and fishmouths.  Use a trowel to mound the Mastic around the penetrations to seal the opening.  Do not apply Mastic where it may come into direct contact with the membrane.

    - Vapor Retarder SA 106

- All surfaces must be clean, smooth, sound, dry, and free of loose materials, debris or contaminants such as water, moisture, frost, ice, oil and grease that would interfere with proper adhesion and compromise the performance of the product.

- Prepare concrete surfaces to achieve a Concrete Surface Profile CSP 3 to CSP 5 in accordance with the International Concrete Repair Institute (ICRI) Technical Guideline No. 310.2R-2013.

- Vapor Retarder Primer SB, Vapor Retarder Primer VC or Vapor Retarder Primer WB is required on all substrates except for steel.  Concrete surfaces must be fully dry before installation.  Shake or stir primer before applying.  Let the primer dry completely.

- Begin the installation at the low point of the roof.  Chalk a line on the deck to align the sheet.  Unroll, position, and align Vapor Retarder SA 106 with the release poly covered selvage edge on the up-slope side.  After the sheet is placed in its final position, loosely reroll half of the sheet toward the center of the roll.

- Carefully score the release liner across the width of the roll with a straight blade utility knife.  Roll Vapor Retarder SA 106 into its final position as the release liner is being removed.  Re-roll the remaining Vapor Retarder SA 106 and repeat the process. Roll Vapor Retarder SA 106 with a 100 lb (45 kg) steel roller to ensure full contact with the substrate.

- Align successive sheets with 3 in (7.6 cm) side laps and 6 in (15.2 cm) end laps.  The seam area has a pre-applied primer/adhesive on one side for mating with the bottom of the next sheet.  Remove the release poly from the seam area and mate the top sheet to the bottom.  Roll the seam area to ensure constant contact.

- Hot air weld the end laps.  Hot air welded laps must show a minimum ½ in (1.3 cm) bleed out.  Stagger adjacent end laps a minimum of 12 in (30.5 cm).

- Apply Mastic to seal around penetrations.  Use a trowel to mound the Mastic around the penetrations to seal the opening.  Do not apply Mastic where it may come into direct contact with the membrane.

    - Vapor Retarder TA 138

- All Concrete surface must be clean, smooth, sound, fully dry, and free of loose materials, debris or contaminants such as water, moisture, frost, ice, oil and grease that would interfere with proper adhesion and compromise the performance of the product.

- Prepare concrete surfaces to achieve a Concrete Surface Profile CSP 3 to CSP 5 in accordance with the International Concrete Repair Institute (ICRI) Technical Guideline No. 310.2R-2013.

- Torch applied products should only be installed by trained personnel.  It is imperative that the NRCA safety guidelines, as outlined in their Certified Roofing Torch Applicator Program (CERTA), and good industry practices be followed.

- Prime concrete surface with Vapor Retarder Primer TA.  Concrete surfaces must be fully dry before installation.  Shake or stir primer before applying.  Let the primer dry completely.

- After the primer has dried completely, install Vapor Retarder TA 138 in a shingle fashion starting at the low point of the deck so the laps shed water.

- Chalk a line on the deck to align the first sheet.  Unroll Vapor Retarder TA 138 and align the side lap with the chalk line.  Back roll the sheet halfway.  Begin torching the bottom side of Vapor Retarder TA 138.  As the bitumen begins to soften pull the roll forward with a metal pole.  When heated properly there should be a bleed out of approximately ½ in (1.3 cm).  Back roll the other half of the roll and repeat the process.

- Kick out the next roll and align the side lap.  Side laps must be a minimum of 3 in (7.6 cm).  End laps should be a minimum of 6 in (15.2 cm).  Stagger adjacent end laps a minimum of 12 in (30.5 cm).  Cut the lower outside corner of the end lap at a 45 degree angle to minimize material build-up where it will be covered by the next roll.

- When heating the membrane move the torch in an ‘ L ’ pattern to ensure heating of the lap area on the bottom sheet.  Proper heating will create a minimum ½ in (1.3 cm) bleed out.  Walk in the seam area or use a weighted roller to ensure proper adhesion and bleed out.  Ensure that all laps are firmly and smoothly adhered without wrinkles, voids or fishmouths.

- Check the seams with the edge of a trowel.  Any loose areas should be lifted with the trowel, re-heated and pushed back down to achieve the necessary bleed out.

- Apply Mastic to seal around penetrations.  Use a trowel to mound the Mastic around the penetrations to seal the opening.  Do not apply Mastic where it may come into direct contact with the membrane.

###### WOOD NAILER INSTALLATION

### Install continuous code compliant wood nailers at the perimeter of the entire roof and around roof projections and penetrations as shown on the Detail Drawings.

### Nailers shall be anchored to resist a minimum force of 300 pounds per lineal foot (4,500 Newtons per lineal meter) in any direction.  Individual nailer lengths shall not be less than 3 feet (0.9 meter) long.  Nailer fastener spacing shall be at 12 inches (0.3 m) on center or 16 inches (0.4 m) on center if necessary to match the structural framing.  Fasteners shall be staggered 1/3 the nailer width and installed within 6 inches (0.15 m) of each end.  Two fasteners shall be installed at ends of nailer lengths.  Nailer attachment shall also meet the requirements of the current Factory Mutual Loss Prevention Data Sheet 1-49.

### Thickness shall be as required to match substrate and insulation height to allow a smooth transition.

### Any existing nailer woodwork which is to remain shall be firmly anchored in place to resist a minimum force of 300 pounds per lineal foot (4,500 Newtons per lineal meter) in any direction and shall be free of rot, excess moisture or deterioration.  Only woodwork shown to be reused in Detail Drawings shall be left in place.  All other nailer woodwork shall be removed.

### Stainless steel, corrosion resistant, fasteners are required when mechanically attaching any Sika Corporation product to wood nailers and wood products treated with ACQ (Alkaline copper Quaternary). When ACQ treated wood is used on steel roof decks or with metal edge detailing, a separation layer must be placed between the metal and ACQ treated wood.

###### INSULATION INSTALLATION (AS REQUIRED)

General Criteria:

It is preferable not to use more insulation below the membrane than required to protect the membrane from sharp objects or uneven substrates.  However, when insulation is required for slope, tapered insulation such as extruded polystyrene is recommended.  The addition of insulation under the membrane may change the dew point in the system.  Care must be given to the roofing system design in order to keep the dew point above the membrane.  The insulation must be secured with compatible insulation adhesive to prevent movement.  Slip sheets may be required between insulation and membranes.

˙

### Insulation shall be installed according to insulation manufacturer's instructions.

### Insulation shall be neatly cut to fit around penetrations and projections.

### Install tapered insulation in accordance with insulation manufacturer's shop drawings.

### Install tapered insulation around drains creating a drain sump.

### Do not install more insulation board than can be covered with Sarnafil membrane by the end of the day or the onset of inclement weather.

###### SARNAFIL G476 MEMBRANE INSTALLATION

### The surface of the insulation or substrate shall be inspected prior to installation of the Sarnafil roof membrane.  The substrate shall be clean, dry, free from debris and smooth with no surface roughness or contamination.  Broken, delaminated, wet or damaged insulation boards shall be removed and replaced.

### If installing membrane over polystyrene insulation an approved separation layer shall be installed between the membrane and polystyrene insulation (unless supplied with a compatible facer).  Unfaced polystyrene is incompatible with Sarnafil membranes without a separation layer.

### General

#### After determining that there is no debris or roughness on the substrate, the Sarnafil G476 membrane is positioned and unrolled.  The adjacent roll is positioned to overlap the previous roll by 3 inches (75mm).

#### Membrane overlaps shall be shingled with the flow of water where possible.

#### Tack welding of Sarnafil G476 membrane field sheets for purposes of temporary restraint during installation is not permitted.  Consult Sika Corporation’s Technical Department for further information.

### Securement Around Rooftop Penetrations

#### Around all perimeters, at the base of walls, drains, curbs, vent pipes, or any other roof penetrations, Sarnafasteners and Sarnadiscs shall be installed according to perimeter rate of attachment.  Fasteners shall be installed according to the manufacturer’s instructions.  Fasteners shall be installed using the fastener manufacturer’s recommended torque-sensitive fastening tools with depth locators.  Fasteners shall clamp the Sarnafil membrane tightly to the substrate.

#### Sarnafil membrane flashings shall extend 2-1/2 inches (63 mm) past the Sarnadisc and Sarnadisc-XPN, and be hot-air welded to the Sarnafil deck membrane.

###### HOT-AIR WELDING OF SEAM OVERLAPS

### General

#### All seams shall be hot-air welded.  Seam overlaps should be 3 inches (75 mm) wide when automatic machine-welding and 4 inches (100 mm) wide when hand-welding, except for certain details.

#### Welding equipment shall be provided by or approved by Sika Corporation.  All mechanics intending to use the equipment shall have successfully completed a training course provided by a Sika Corporation Technical Service Representative prior to welding.

#### All membrane to be welded shall be clean and dry.

### Hand-Welding

Hand-welded seams shall be completed in two stages.  Hot-air welding equipment shall be allowed to warm up for at least one minute prior to welding.

#### The back edge of the seam shall be welded with a narrow but continuous weld to prevent loss of hot air during the final welding.

#### The nozzle shall be inserted into the seam at a 45 degree  angle to the edge of the membrane.  Once the proper welding temperature has been reached and the membrane begins to "flow”, the hand roller is positioned perpendicular to the nozzle and rolled lightly.  For straight seams, the 1-1/2 inch (40 mm) wide nozzle is recommended for use.  For corners and compound connections, the 3/4 inch (20 mm) wide nozzle shall be used.

### Machine Welding

#### Machine welded seams are achieved by the use of Sika Corporation's automatic welding equipment.  When using this equipment, Sika Corporation's instructions shall be followed and local codes for electric supply, grounding and over current protection observed.  Dedicated circuit house power or a dedicated portable generator is recommended.  No other equipment shall be operated simultaneously off the generator.

#### Metal tracks may be used over the deck membrane and under the machine welder to minimize or eliminate wrinkles.

### T-Joints (three-way overlaps)

Welding Sarnafil roofing membranes thicker than 60 mils (1.5mm) requires special attention in order to ensure quality T-Joints.  The following steps must be followed:

#### When welding three-way intersections of Sarnafil membranes greater than 60 mils in thickness, shave down the top edge of the second layer (middle layer) of membrane, to create a smooth transition for the top layer of membrane to conform to.

#### Weld a 4 inch (10.2cm) round or square (with rounded corners) patch of max. 60 mil thick G476, G410, or G459 membrane centered at the T-Joint intersection.  Be sure to shave the edges of the membrane forming the T-Joint to provide a smooth transition for the patch.

#### Shaving or chamfering of the membrane edges can be done either with a hand held grinder with a joint planer, a chamfering tool available from Sika Corporation or by scraping gently with the hot nozzle of a hand welding tool.

### Quality Control of Welded Seams

#### The Applicator shall check all welded seams for continuity using a rounded screwdriver.  Visible evidence that welding is proceeding correctly is smoke during the welding operation, shiny membrane surfaces, and an uninterrupted flow of dark grey material from the underside of the top membrane.  On-site evaluation of welded seams shall be made daily by the Applicator at locations as directed by the Owner's Representative or Sika Corporation's representative.  One inch (25 mm) wide cross-section samples of welded seams shall be taken at least three times a day.  Correct welds display failure from shearing of the membrane prior to separation of the weld.  Each test cut shall be patched by the Applicator at no extra cost to the Owner.

###### SEPARATION LAYER INSTALLATION

[NOTE TO SPECIFIER:  ONLY NEEDED OVER NON-COMPATIBLE INSULATION.]

˙

Approved separation layer shall be installed between membrane and polystyrene insulation (unless supplied with a compatible facer).  Unfaced polystyrene is incompatible with Sarnafil membranes without a separation layer.

### General Criteria

#### Separation layer shall be installed according to Sika Corporation’s instructions.

#### Separation layer shall be neatly cut to fit around penetrations and projections.

#### Overlap separation layer edges 6 inches (150 mm).  The installation of the separation layer is to be followed immediately by the installation of Sarnatherm Lightguard.

#### Do not install more separation layer than can be covered with Sarnafil Lightguard by the end of the day or the onset of inclement weather.

###### BALLASTING OF SARNAFIL G476 MEMBRANE

### General

By the end of each work day, all welded membrane shall be ballasted at a rate and method that meets Factory Mutual Loss Prevention Data Sheet 1-29, and SPRI/ANSI Wind Design Guide RP-4 and all applicable local code requirements.  Seam overlap areas shall not be covered with paver ballast prior to inspection.

### Installation of Sarnatherm Lightguard

#### Always start at a corner close to the source of the prevailing wind.  Work from the bottom of slope to the top.

#### Start the first row with a whole board at a corner with groove side towards the edge of the roof.  Snap a chalk line the width of one board [2 feet (60.9 cm)] away from the perimeter edge as a guide.  Lay the boards tightly in the row.

#### To obtain a stagger, the second row of boards should begin with a half board.  Two additional chalk lines at 90 degree  angles to the first at 4 feet (1.2 m) and 6 feet (1.8 m) away from the perimeter edge should be snapped to help maintain edge stagger by indicating starter lines for the ends of the first boards in the next rows.

#### Once the array is started it must be continued across the entire roof area.

#### Insulation boards shall be cut using masonry saw blades.

### Placement of Sarnatherm Lightguard

#### Tight tongue and groove integrity [with no gaps greater than 1/4 inch (6 mm)] and a staggered-joint array must be maintained.

#### Boards must remain unadhered to the membrane.

#### All sides of the boards must be tightly butted to the adjacent boards.

#### The concrete mortar surface on the boards must not be in contact with terminations such as parapets, curbs, etc.  Use of 1/2 inch (12.7 mm) thick polyethylene foam is suggested.

#### Boards shall be laid with 4 feet (1.2 m) long side in the direction of the roof slope.  Array should begin at the bottom of steep roof slopes and be continued to the roof peak.  This is most cirtical for roof slopes greater than 1/2 / 12.

### Placing Sarnatherm Lightguard Across Slope Changes

#### Boards shall be cut to conform to slope changes on the deck and to prevent breakage of boards spanning across slope changes.

#### Additional securement must be added if tongue and groove or staggered joint array is compromised or if boards are cut to lay flat on adjacent planes.

#### Small cut pieces must not be used in the system where a full board or a larger piece can be used.

### Terminations

#### Boards must be a maximum of 1/2 inch (12.7 mm) from all terminations or penetrations.  The insulation may be beveled to conform to the slope of cant strips.

#### Boards must be terminated immediately adjacent to drain bonnet.  Boards may be installed over the drains where the drain opening has been protected using a flat perforated metal cover.   The boards should be marked to indicate the drain.

### Perimeter Terminations

#### Long-Edge Termination:

- Perimeter termination method when 4 feet (1.2 m) long edge of board is against the perimeter.  Pieces with width equal to or greater than 6 inches (15.2 cm) must be placed into position with tongue and groove integrity.  For terminating pieces less than 6 inches (15.2 cm) wide, tongue and groove is not required.

#### Short-Edge Termination:

Perimeter termination method when 2 feet (60.9 cm) long edge of board is against the perimeter.  Boards ending a row with lengths less than 6 inches (15.2 cm) must be moved into the array of the roof as the second board from the perimeter.

### Exposed Foam

#### All foam exposed directly to the sun shall be coated with exterior grade latex paint or otherwise protected.

### Perimeter Securement

The installed system must be secured at all perimeters.  The securement system must restrain any movement of the roof insulation at termination points.

#### Metal Perimeter Edge Securement

                - The metal counter flashing/gravel stop securement shall be extended a minimum of 6 inches (15.2 cm) onto the surface of the Sarnatherm Lightguard and be attached 18 inches (45.7 cm) on center using approved fasteners.  Fasteners must be 3 inches (76.2 mm) minimum from any board edge.

Factory prefabricated metal flashing/gravel stop securement shall be installed in accordance with the manufacturer’s instructions.

The metal perimeter edge securement shall be securely attached to the perimeter edge wood nailer or wall a maximum 12 feet (3.6 m).  Proper considerations for coefficient of expansion/contractions and corrosion must be incorporated in the design of the metal and fasteners.

The metal perimeter edge shall not run for continuous lengths over 12 feet (3.6 m).

The metal perimeter edge securement must be attached to a termination board that has tongue and groove integrity and is equal to or greater than 6 inches wide.  If the termination board is less than 6 inches (15.2 cm)  wide, the metal perimeter securement must be extended a minimum of 6 inches (15.2 cm) onto the surface of the next whole board in and be attached a maximum of 18 in (45.7 cm) on center.

#### Paver Securement

                - Adhered Membranes:

For roofs up to 90 mph wind range only, securement shall be a single row of nominal 2 inches x 8 inches x 16 inches (5.8x20.3x40.6 cm) pavers laid with their long edge perpendicular to the roof perimeter.

Loose-Laid Membranes and Multi-Layer Foam Installations:

For roofs up to 90 mph wind range only, securement shall be a single row of nominal 2 inches x 2 feet x 2 feet (5.8 x 60.9 x 60.9 cm) or two rows of nominal 2 inches x 8 inches x 16 in (5.8x20.3x40.6 cm) pavers laid with their long edge perpendicular to the roof perimeter.

#### Paver Placement

                - The height of gravel stop or parapet shall extend above the paver in all cases.

Pavers shall be placed in continuous rows butted together at all perimeters and openings or penetrations greater than 4 feet (1.2 m) long.

When 4 feet long direction of the board runs parallel to the perimeter, pavers shall be placed with their outside edge centered on the perimeter board (covering the first board).  When the 2 feet (60.9 cm) long direction of the board runs parallel to the perimeter pavers shall be placed in from the perimeter at least 12 inches (30.4 cm).

### Tongue and Groove Integrity

#### Wherever tongue and groove integrity is lost or cuts are made through the boards, securement shall be added to tie the system together using:

                - A metal strap, 8 inches (20.3 cm) wide minimum, centered on the break and fastened on both edges, 12 inches (30.4 cm) on center.  The strap must extend a minimum of 4 inches (10.1 cm) onto the face of the board and the fasteners must be a minimum of 3 inches (76.2 mm) from edges or minimum 19 lb. (8.6 kg) 2 inches x 8 inches x 16 inches (5.8x20.3x40.6 cm) paver placed in continuous rows on each side of the cut, laid with their long edge perpendicular to the cut.

#### Internal Penetrations

                - All penetrations greater than 4 feet (1.2 m) but less than 12 feet (3.6 m) in any direction shall be secured with pavers 2 inches x 8 inches x 16 inches (5.8x20.3x40.6 cm) laid with their long edge perpendicular to the internal penetration or minimum 3 inches (76.2 mm) wide, 22 gauge metal strap secured maximum 12 inches (30.4 cm) on center.

Internal penetrations greater than or equal to 12 feet (3.6 m) in any direction must be secured in the same manner as the perimeter.

### Fastener Installation

#### All fastener manufacturers’ installation specifications must be followed.

#### Fasteners must be placed in a predrilled hole when installed into the Sarnatherm Lightguard, with the hole size specified by the fastener manufacturer.  Hammer type drills must not be used in drilling the holes.

#### Fasteners must not be overdriven and must be perpendicular to the appropriate plane.

#### Correct drill bits and tools as recommended by the manufacturer shall be used to ensure proper fastener installation.

#### Fasteners shall be placed a maximum of 18 inches (45.7 cm) on center for attaching perimeter edge securement and a maximum of 12 inches (30.4 cm) on center for attaching securement where tongue and groove integrity has been lost.  Fasteners shall be placed a minimum of 3 inches (7.6 cm) from any of the board edges.

###### MEMBRANE FLASHINGS INSTALLATION

All flashings shall be installed concurrently with the roof membrane as the job progresses.  No temporary flashings shall be allowed without the prior written approval of the Owner's Representative and Sika Corporation.  Approval shall only be for specific locations on specific dates.  If any water is allowed to enter under the newly completed roofing, the affected area shall be removed and replaced at the Applicator's expense.  Flashing shall be adhered to compatible, dry, smooth, and solvent-resistant surfaces.  Use caution to ensure adhesive fumes are not drawn into the building.

### Sarnacol Adhesive for Membrane Flashings

#### Over the properly installed and prepared flashing substrate, Sarnacol adhesive shall be applied according to instructions found on the Product Data Sheet.  The Sarnacol adhesive shall be applied in smooth, even coats with no gaps, globs or similar inconsistencies.  Only an area which can be completely covered in the same day's operations shall be flashed.  The bonded sheet shall be pressed firmly in place with a hand roller.

#### No adhesive shall be applied in seam areas that are to be welded.  All panels of membrane shall be applied in the same manner, overlapping the edges of the panels as required by welding techniques.

### Install Sarnastop or Sarnabar/Sarnacord according to the Detail Drawings with approved fasteners into the structural deck at the base of parapets, walls and curbs.  Sarnastop or Sarnabar may be required at the base of all tapered edge strips and at transitions, peaks, and valleys according to Sika Corporation’s details.

### Sika Corporation's requirements and recommendations and the specifications shall be followed.  All material submittals shall have been accepted by Sika Corporation prior to installation.

### All flashings should extend a minimum of 8 inches (0.2 m) above roofing level, exceptions to this might be pipe boots and/or sealant pockets, etc.  If in question, submit in writing to the Owner's Representative and Sika Corporation Technical Department for signed approval.

### All flashing membranes shall be consistently adhered to substrates.  All interior and exterior corners and miters shall be cut and hot-air welded into place.  No bitumen shall be in contact with the Sarnafil membrane.

### All flashing membranes shall be mechanically fastened along the counter-flashed top edge with Sarnastop at 6 to 8 inches (0.15 to 0.20 m) on center.

### Sarnafil flashings shall be terminated according to Sika Corporation recommended details.

### All adhered flashings that exceed 30 inches (0.75 m) in height shall receive additional securement.  Consult Sika Corporation Technical Department for securement methods.

###### METAL FLASHING INSTALLATION

### Metal details, fabrication practices and installation methods shall conform to the applicable requirements of the following:

#### Factory Mutual Loss Prevention Data Sheet 1-49 (latest issue).

#### Sheet Metal and Air Conditioning Contractors National Association, Inc. (SMACNA) - latest issue.

### Metal, other than that provided by Sika Corporation, is not covered under the Sarnafil warranty.

### Complete all metal work in conjunction with roofing and flashings so that a watertight condition exists daily.

### Metal shall be installed to provide adequate resistance to bending to allow for normal thermal expansion and contraction.

### Metal joints shall be watertight.

### Metal flashings shall be securely fastened into solid wood blocking.  Fasteners shall penetrate the wood nailer a minimum of 1 inch (25 mm).

### Airtight and continuous metal hook strips are required behind metal fascias.  Hook strips are to be fastened 12 inches (0.3 m) on center into the wood nailer or masonry wall.

### Counter flashings shall overlap base flashings at least 4 inches (100 mm).

### Hook strips shall extend past wood nailers over wall surfaces by 1-1/2 inch (38 mm) minimum and shall be securely sealed from air entry.

###### SARNACLAD METAL BASE FLASHINGS / EDGE METAL INSTALLATION

All flashings shall be installed concurrently with the roof membrane as the job progresses.  No temporary flashings shall be allowed without the prior written approval of the Owner's Representative and Sika Corporation.  Acceptance shall only be for specific locations on specific dates.  If any water is allowed to enter under the newly completed roofing due to incomplete flashings, the affected area shall be removed and replaced at the Applicator's expense.

### Sarnaclad metal flashings shall be formed and installed per the Detail Drawings.

#### All metal flashings shall be fastened into solid wood nailers with two rows of post galvanized flat head annular ring nails, 4 inches (100 mm) on center staggered.  Fasteners shall penetrate the nailer a minimum of 1 inch (25 mm).

#### Metal shall be installed to provide adequate resistance to bending and allow for normal thermal expansion and contraction.

### Adjacent sheets of Sarnaclad shall be spaced 1/4 inch (6 mm) apart.  The joint shall be covered with 2 inch (50 mm) wide aluminum tape.  A 4 inch minimum (100 mm) wide strip of Sarnafil flashing membrane shall be hot-air welded over the joint.

###### EDGE METAL INSTALLATION

All flashings shall be installed concurrently with the roof membrane as the job progresses.  No temporary flashings shall be allowed without the prior written approval of the Owner's Representative and Sika Corporation.  Acceptance shall only be for specific locations on specific dates.  If any water is allowed to enter under the newly completed roofing due to incomplete flashings, the affected area shall be removed and replaced at the Applicator's expense.

### PRM Ballasted Paver Fascia Metal

#### Position the Sarnafil membrane over the roof edge and down outside face of wall covering wood nailer(s) completely, allowing 1/2 inch (13 mm) excess membrane.  Hot-air weld all seams making sure there are no voids in welds.

#### Install separator sheet and PMR ballast paver along perimeter edge.

#### Fasten (base) anchor bar into the side of the nailer at 12 inches (0.3 m) on center using #9 x 2 inch stainless steel fasteners provided with PMR Ballast Paver Fascia Metal.  Field cut sections as necessary.  A second row of fastening may be required based upon site conditions.  Exercise caution at perimeter of roof.  Workers shall follow OSHA safety procedures.

#### Fascia covers are installed from right to left as seen from rooftop.  Position fascia cover on top of base rail and overlap preceding panel by 1 inch (25 mm) at notches provided.  Snap covers into place.  Field cut where necessary.  Exercise caution at perimeter of roof.  Workers shall follow OSHA safety procedures.

### Edge Grip

#### Position the roof membrane over edge of roof and down outside face of wall covering wood nailer(s) completely.  Allow 1/2 inch (13 mm) of excess membrane to extend down past the wood nailer.  Hot-air weld all seams making sure there are no voids in welds.

#### Apply a 3/8 inch (10 mm) continuous bead of Sikaflex – 1a sealant to the clean bottom of formed retainer.  Install formed retainer from right to left as seen from rooftop.  Overlap joints of straight run sections a minimum of 1 inch (25 mm) and corner sections a minimum of 5 inches (127 mm).  Field cut sections as necessary.

#### Fasten formed retainer into side of nailer 12 inches (0.3 m) on center.  Use fasteners provided with Edge Grip system; 1-1/2 inch (38 mm) hex head stainless steel fasteners with neoprene washers.

#### Fasteners shall provide a minimum 240 lbs. (109 kg) pull-out resistance; suitable for the substrates to which being installed.

#### Install concealed joint splice plates intersecting sections of snap-on fascia cover joints.

#### Position snap-on fascia cover so that it’s top engages the formed retainer top.  Rotate downward engaging bottoms of snap-on fascia cover and formed retainer.  Allow 1/4 inch (6 mm) gap between snap-on fascia sections for thermal expansion.  Field cut where necessary.

### Edge Grip Extruded

#### Position the roof membrane over edge of roof and down outside face of wall covering wood nailer(s) completely.  Allow 1/2 inch (13 mm) of excess membrane to extend down past the wood nailer.  Hot-air weld all seams making sure there are no voids in welds.

#### Apply a 3/8 inch (10 mm) continuous bead of Sikaflex – 1a sealant to the clean bottom of heavy-duty extruded retainer.  Install extruded retainer from right to left as seen from rooftop.  Field cut sections as necessary.

#### Install retainer splice under intersecting sections of extruded retainer.

#### Fasten extruded retainer into side of nailer 12 inches (0.3 m) on center.  Use fasteners provided with Edge Grip Extruded system; 1-1/2 inch (38 mm) hex head stainless steel fasteners with neoprene washers.  Allow 1/8 inch (3 mm) gap between extruded retainer sections for thermal expansion [1/4 inch (6 mm) if temperature is below 40 degrees F (4 C)].

#### Fasteners shall provide a minimum 240 lbs. (109 kg) pull-out resistance; suitable for the substrates to which being installed.

#### Install concealed joint splice plates at intersecting sections of snap-on fascia cover joints.

#### Position snap-on fascia cover so that it’s top engages the extruded retainer top.  Rotate downward engaging bottoms of snap-on fascia cover and extruded retainer base plate.  Allow 1/4 inch (6 mm) gap between snap-on fascia sections for thermal expansion.  Field cut where necessary.

###### PMR BALLAST PAVER TERMINATION METAL

### Position Sarnafil flashing membrane along wall (minimum flashing height is 8 inches (203 mm).  Hot-air weld all seams making sure there are no voids in welds.

### Install separator sheet and PMR ballast pavers along the wall.  When installing the PMR ballast pavers ensure that a minimum 1-3/4 inches (44 mm) gap is maintained off the wall where no pavers are installed.

### Fasten the termination bar into the wall at 6 inches (152 mm) on center using appropriate fasteners to maintain a constant compression seal.  Terminate top of compression per specified detail.  Field cut sections as necessary.  Cover joints with provided cover plates.  Exercise caution at perimeter of roof.  Workers shall follow OSHA safety procedures.

### Fascia covers are installed from right to left as seen from rooftop.  Position fascia cover on top of base rail and overlap preceding panel by 1 inch (25 mm) at notches provided.  Snap covers into place.  Field cut where necessary.  Exercise caution at perimeter of roof.  Workers shall follow OSHA safety procedures.

###### TEMPORARY CUT-OFF

All flashings shall be installed concurrently with the roof membrane in order to maintain a watertight condition as the work progresses.  All temporary waterstops shall be constructed to provide a 100 percent watertight seal.  The stagger of the insulation joints shall be made even by installing partial panels of insulation.  The new membrane shall be carried into the waterstop.  Waterstop shall be sealed to the deck and substrate so that water will not be allowed to travel under the new or existing roofing.  The edge of the membrane shall be sealed in a continuous heavy application of sealant as described in Section 2.01.  When work resumes, the contaminated membrane shall be cut out.  All sealant, contaminated membrane, insulation fillers, etc. shall be removed from the work area and properly disposed of off site. None of these materials shall be used in the new work.

If inclement weather occurs while a temporary waterstop is in place, the Applicator shall provide the labor necessary to monitor the situation to maintain a watertight condition.

If any water is allowed to enter under the newly-completed roofing, the affected area shall be removed and replaced at the Applicator's expense.

###### COMPLETION

Prior to demobilization from the site, the work shall be reviewed by the Owner's Representative and the Applicator.  All defects noted and non-compliances with the Specifications or the recommendations of Sika Corporation shall be itemized in a punch list.  These items must be corrected immediately by the Applicator to the satisfaction of the Owner's Representative and Sika Corporation prior to demobilization.

All Warranties referenced in this Specification shall have been submitted and have been accepted at time of contract award.

###### DETAILS

Refer to Typical System Details section or usa.sarnafil.sika.com.